## loinc statistical checks
loinc_code | loinc_name | fluid | category | loinc_property | valueuom | n_results | n_patients | n_negative_implausible | n_zero_outliers | other_outliers | zero_possible | Low_reportable_limit | min | min_n | min+1 | min+1_n | min+2 | min+2_n | min+3 | min+3_n | min+4 | min+4_n | P0.05 | P25 | median | P75 | P99.95 | max_9 | max_9_n | outlier_check10 | max_8 | max_8_n | outlier_check9 | max_7 | max_7_n | outlier_check8 | max_6 | max_6_n | outlier_check7 | max_5 | max_5_n | outlier_check6 | max_4 | max_4_n | outlier_check5 | max_3 | max_3_n | outlier_check4 | max_2 | max_2_n | outlier_check3 | max_1 | max_1_n | outlier_check2 | max | max_n | outlier_check1 | highest_non_outlier | highest_non_outlier2 | outlier_n2 | expert_agreement_with_statistical_checks | expert_highest_non_outlier | Notes | Notes2 | highest_non_outlier_value | highest_non_outlier_n | outlier_n | high_hypoth_outlier | outlier_n_after_high_limit
10334-1 | Cancer Ag 125 [Units/volume] in Serum or Plasma | Blood | Chemistry | ACnc | U/mL | 14243 | 2814 |  |  |  | Y | 0 | 2 | 1 | 2.2 | 1 | 2.3 | 2 | 2.5 | 1 | 2.7 | 1 | 2.812 | 13 | 29 | 137 | 15342.51 | 14690 | 1 | 0.007 | 14797 | 1 | 0.005 | 14864 | 1 | 0.035 | 15409 | 1 | 0.016 | 15653 | 1 | 0.011 | 15827 | 1 | 0.002 | 15864 | 1 | 0.086 | 17358 | 1 | 0.103 | 19354 | 1 | 0.174 | 23431 | 1 | 0.345 | max |  |  | Ok | max |  |  | 23431 | 1 |  | 35145.5
10535-3 | Digoxin [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 11703 | 3697 |  |  |  | Y | 0 | 0.15 | 1 | 0.2 | 234 | 0.3 | 394 | 0.4 | 694 | 0.5 | 1009 | 0.2 | 0.6 | 0.9 | 1.3 | 6.5 | 5.7 | 2 | 0.018 | 5.8 | 1 | 0.017 | 5.9 | 3 | 0.017 | 6 | 1 | 0.033 | 6.2 | 2 | 0.032 | 6.4 | 1 | 0.016 | 6.5 | 3 | 0.016 | 6.6 | 2 | 0.03 | 6.8 | 1 | 0.153 | 8 | 1 | 0.191 | max |  |  | OK | max |  |  | 8 | 1 |  | 11.925
11253-2 | Tacrolimus [Mass/volume] in Blood | Blood | Chemistry | MCnc | ng/mL | 98624 | 1901 |  |  |  | Y | 0 | 1.3 | 1 | 1.5 | 24 | 1.6 | 18 | 1.7 | 24 | 1.8 | 30 | 1.7 | 5.2 | 7.1 | 9.6 | 29.3 | 31.2 | 2 | 0.113 | 35 | 1 | 0.092 | 38.4 | 1 | 0.039 | 39.9 | 1 | 0.003 | 40 | 3 | 0.03 | 41.2 | 1 | 0.115 | 46.4 | 1 | 0.034 | 48 | 1 | 0.021 | 49 | 1 | 0.021 | 50 | 1 | 0.425 | max |  |  | Ok | max |  |  | 50 | 1 |  | 74.35
11555-0 | Base excess in Blood by calculation | Blood | Blood Gas | SCnc | mEq/L | 537705 | 57229 |  |  |  |  | -715 | -414 | 5 | -413 | 23 | -313 | 1 | -50 | 1 | -47 | 1 | -29 | -3 | 0 | 2 | 25 | 46 | 1 | 0.006 | 49 | 1 | 0.002 | 50 | 2 | 0.015 | 57 | 1 | 0.004 | 59 | 1 | 0.008 | 63 | 1 | 0.008 | 67 | 1 | 0.008 | 71 | 1 | 0.067 | 106 | 1 | 0.136 | 188 | 1 | 0.271 | max |  |  | OK | max |  |  | 188 | 1 |  | 489
11556-8 | Oxygen [Partial pressure] in Blood | Blood | Blood Gas | PPres | mm Hg | 537865 | 57213 | 1 | 10 |  | N | 0.0001 | 0 | 10 | 1 | 2 | 2 | 2 | 3 | 3 | 4 | 4 | 15 | 71 | 101 | 154 | 567 | 734 | 1 | 0.012 | 743 | 1 | 0.026 | 763 | 1 | 0.024 | 782 | 1 | 0.013 | 792 | 2 | 0.004 | 795 | 1 | 0.003 | 797 | 1 | 0.128 | 914 | 1 | 0.427 | 1596 | 1 | 0.624 | 4242 | 1 | 0.38 | max_2 |  | 2 | Ok | max_2 |  |  | 914 | 1 | 2 | 1371 | 2
11557-6 | Carbon dioxide [Partial pressure] in Blood | Blood | Blood Gas | PPres | mm Hg | 537621 | 57212 |  | 7 |  | N | 0.0001 | 0 | 7 | 7 | 7 | 8 | 9 | 9 | 22 | 10 | 32 | 14 | 36 | 41 | 47 | 130 | 201 | 1 | 0.01 | 203 | 1 | 0.033 | 210 | 1 | 0.019 | 214 | 1 | 0.005 | 215 | 1 | 0.073 | 232 | 1 | 0.004 | 233 | 1 | 0.009 | 235 | 1 | 0.033 | 243 | 1 | 0.012 | 246 | 1 | 0.472 | max |  |  | Ok | max |  |  | 246 | 1 |  | 369
11558-4 | pH of Blood | Blood | Blood Gas | LsCnc | units | 592843 | 61842 |  | 1 | 3 | N | 6 | 0 | 1 | 0.94 | 1 | 1.32 | 1 | 4.57 | 1 | 6.1 | 1 | 6.84 | 7.33 | 7.39 | 7.44 | 7.65 | 7.84 | 1 | 0.001 | 7.85 | 1 | 0.001 | 7.86 | 1 | 0.004 | 7.89 | 1 | 0.005 | 7.93 | 2 | 0.001 | 7.94 | 1 | 0.001 | 7.95 | 1 | 0.001 | 7.96 | 1 | 0.036 | 8.26 | 1 | 0.074 | 8.92 | 1 | 0.142 | max |  |  | OK | max |  |  | 8.92 | 1 |  | 13.38
13457-7 | Cholesterol in LDL [Mass/volume] in Serum or Plasma by calculation | Blood | Chemistry | MCnc | mg/dL | 274793 | 85761 | 4 | 3 |  | N | 0.0001 | 0 | 3 | 1 | 2 | 2 | 4 | 3 | 7 | 4 | 9 | 11 | 77 | 100 | 127 | 308 | 535 | 1 | 0.024 | 548 | 1 | 0.007 | 552 | 1 | 0.013 | 559 | 1 | 0.007 | 563 | 1 | 0.023 | 576 | 1 | 0.032 | 595 | 1 | 0.085 | 650 | 1 | 0.021 | 664 | 1 | 0.506 | 1345 | 1 | 0.536 | max_1 |  | 1 | Ok | max |  |  | 664 | 1 | 1 | 996 | 1
13945-1 | Erythrocytes [#/area] in Urine sediment by Microscopy high power field | Urine | Hematology | Naric | #/hpf | 377864 | 130852 |  |  |  | Y | 0 | 0 | 59669 | 0.2 | 9 | 1 | 111908 | 2 | 59071 | 3 | 30489 | 0 | 1 | 2 | 5 | 777.203 | 982 | 1 | 0.002 | 984 | 1 | 0.002 | 986 | 1 | 0.002 | 988 | 2 | 0.002 | 990 | 2 | 0.001 | 991 | 1 | 0.003 | 994 | 2 | 0.004 | 998 | 1 | 0.001 | 999 | 2 | 0.001 | 1000 | 4 | 0.223 | max |  |  | OK | max |  |  | 1000 | 4 |  | 1500
13969-1 | Creatine kinase.MB [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 191261 | 54139 |  |  |  | Y | 0 | 1 | 14107 | 1.1 | 1 | 1.15 | 1 | 1.2 | 1 | 1.22 | 1 | 1 | 2 | 4 | 7 | 467.369 | 571 | 1 | 0.002 | 572 | 1 | 0.003 | 574 | 1 | 0.002 | 575 | 1 | 0.027 | 591 | 1 | 0.002 | 592 | 2 | 0.003 | 594 | 1 | 0.007 | 598 | 1 | 0.003 | 600 | 1 | 0.109 | 673 | 1 | 0.306 | max |  |  | OK | max |  |  | 673 | 1 |  | 1009
14135-8 | CD3+CD8+ (T8 suppressor cells) cells [#/volume] in Blood | Blood | Hematology | NCnc | #/uL | 27553 | 4753 |  |  |  | Y | 0 | 0 | 11 | 0.1 | 1 | 0.3 | 1 | 0.6 | 1 | 1 | 27 | 0.533 | 404 | 704 | 1059 | 6893.544 | 7597 | 1 | 0.014 | 7701 | 1 | 0.044 | 8053 | 1 | 0.016 | 8180 | 1 | 0.075 | 8844 | 1 | 0.37 | 14036 | 1 | 0.02 | 14328 | 1 | 0.064 | 15315 | 1 | 0.362 | 24016 | 1 | 0.236 | 31449 | 1 | 0.781 | max? | max_5 | 5 | Changed | max | Reinclude excluded outliers |  | 31449 | 1 |  | 47173.5
14196-0 | Reticulocytes [#/volume] in Blood | Blood | Hematology | NCnc | m/uL | 24275 | 12316 |  |  |  | Y | 0 | 0 | 195 | 0.0099 | 1 | 0.01 | 622 | 0.0119 | 1 | 0.0165 | 1 | 0 | 0.05 | 0.07 | 0.1 | 0.67 | 0.69 | 1 | 0.042 | 0.72 | 1 | 0.027 | 0.74 | 1 | 0.013 | 0.75 | 1 | 0.026 | 0.77 | 1 | 0.025 | 0.79 | 1 | 0.112 | 0.89 | 1 | 0.006 | 0.895 | 1 | 0.242 | 1.18 | 1 | 0.033 | 1.22 | 1 | 0.451 | max |  |  | Ok | max |  |  | 1.22 | 1 |  | 1.83
14957-5 | Microalbumin [Mass/volume] in Urine | Urine | Chemistry | MCnc | mg/dL | 51612 | 18399 |  |  |  | Y | 0 | 0 | 1 | 0.2 | 2 | 0.3 | 2756 | 0.4 | 3086 | 0.5 | 2610 | 0.3 | 0.7 | 2.1 | 9.8 | 1280.387 | 1680 | 1 | 0.023 | 1719 | 1 | 0.001 | 1720 | 1 | 0.006 | 1730 | 1 | 0.069 | 1858 | 1 | 0.018 | 1892.5 | 1 | 0.061 | 2015 | 1 | 0.003 | 2020.8 | 1 | 0.204 | 2539 | 1 | 0.036 | 2634 | 1 | 0.514 | max |  |  | Ok | max |  |  | 2634 | 1 |  | 3951
14958-3 | Microalbumin/Creatinine [Mass Ratio] in 24 hour Urine | Urine | Chemistry | MRto | mg/g | 51775 | 18484 |  |  |  | Y | 0 | 0 | 1 | 0.7 | 1 | 0.9 | 5 | 1 | 5 | 1.1 | 10 | 1.2 | 7.9 | 22 | 105.8 | 13176.03 | 18459.7 | 1 | 0.015 | 18750 | 1 | 0.052 | 19777.3 | 1 | 0.073 | 21328.1 | 1 | 0 | 21336.1 | 1 | 0.147 | 25000 | 1 | 0.009 | 25235 | 1 | 0.013 | 25580 | 1 | 0.127 | 29290 | 1 | 0.37 | 46518.8 | 1 | 0.55 | max_1 |  | 1 | Ok | max_1 |  |  | 29290 | 1 | 1 | 43935 | 1
14979-9 | aPTT in Platelet poor plasma by Coagulation assay | Blood | Hematology | Time | sec | 1315166 | 161432 |  |  |  | N | 1 | 1.2 | 1 | 2.7 | 1 | 6.1 | 1 | 11.9 | 1 | 12.5 | 1 | 18.6 | 28.3 | 32.9 | 46.9 | 150 | 154 | 1 | 0.006 | 154.9 | 1 | 0.017 | 157.5 | 1 | 0.006 | 158.4 | 1 | 0.016 | 161 | 1 | 0.009 | 162.5 | 1 | 0.04 | 169.3 | 1 | 0.013 | 171.6 | 1 | 0.113 | 193.3 | 1 | 0.024 | 198.1 | 1 | 0.244 | max |  |  | OK | max |  |  | 198.1 | 1 |  | 296.55
1742-6 | Alanine aminotransferase [Enzymatic activity/volume] in Serum or Plasma | Blood | Chemistry | CCnc | IU/L | 1411702 | 169318 |  | 58 |  | N | 0.0001 | 0 | 58 | 1 | 185 | 2 | 356 | 3 | 691 | 4 | 1192 | 3 | 16 | 24 | 43 | 5837.188 | 15030 | 1 | 0.006 | 15125 | 1 | 0 | 15128 | 1 | 0.085 | 16540 | 1 | 0.023 | 16925 | 1 | 0.239 | 22250 | 1 | 0.04 | 23180 | 1 | 0.043 | 24220 | 1 | 0.049 | 25460 | 1 | 0.588 | 61854 | 1 | 0.771 | max_1 |  | 1 | Ok | max_1 |  |  | 25460 | 1 | 1 | 38190 | 1
1751-7 | Albumin [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | g/dL | 788594 | 136614 |  |  |  | N | 0.0001 | 0.2 | 2 | 0.3 | 2 | 0.4 | 2 | 0.6 | 6 | 0.7 | 6 | 1.3 | 3.3 | 3.9 | 4.3 | 5.5 | 6.7 | 5 | 0.015 | 6.8 | 1 | 0.015 | 6.9 | 2 | 0.015 | 7 | 1 | 0.014 | 7.1 | 1 | 0.028 | 7.3 | 1 | 0.014 | 7.4 | 1 | 0.191 | 9.1 | 1 | 0.033 | 9.4 | 1 | 0.743 | 36 | 1 | 0.424 | max_1 |  | 1 | Ok | max_1 |  |  | 9.4 | 1 | 1 | 14 | 1
17842-6 | Cancer Ag 27-29 [Units/volume] in Serum or Plasma | Blood | Chemistry | ACnc | U/mL | 10243 | 1388 |  |  |  | Y | 0 | 4 | 12 | 5 | 27 | 6 | 27 | 7 | 46 | 8 | 44 | 4 | 26 | 51 | 160 | 12696.716 | 10647 | 1 | 0.004 | 10695 | 1 | 0.077 | 11585 | 1 | 0.003 | 11620 | 1 | 0.03 | 11975 | 1 | 0.064 | 12797 | 1 | 0.033 | 13239 | 1 | 0.3 | 18914 | 1 | 0.046 | 19828 | 1 | 0.013 | 20090 | 1 | 0.368 | max |  |  | Ok | max |  |  | 20090 | 1 |  | 30133
17861-6 | Calcium [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 2304916 | 174269 |  | 44 |  | N | 0.0001 | 0 | 44 | 0.1 | 1 | 0.2 | 2 | 0.3 | 1 | 0.5 | 1 | 5.3 | 8.3 | 8.8 | 9.3 | 13 | 30 | 2 | 0.038 | 31.2 | 1 | 0.031 | 32.2 | 1 | 0.05 | 33.9 | 1 | 0.212 | 43 | 1 | 0.073 | 46.4 | 1 | 0.214 | 59 | 1 | 0.033 | 61 | 1 | 0.23 | 79.2 | 1 | 0.4 | 132 | 1 | 0.836 | max_1 |  | 1 | Changed | max_6 | Exclude more values | ?13 Is already very high | 33.9 | 1 | 6 | 50.85 | 4
1798-8 | Amylase [Enzymatic activity/volume] in Serum or Plasma | Blood | Chemistry | CCnc | IU/L | 86539 | 33240 |  | 1 |  | N | 0.0001 | 0 | 1 | 1 | 4 | 2 | 9 | 3 | 17 | 4 | 28 | 4 | 42 | 64 | 100 | 2753.65 | 4658 | 1 | 0.008 | 4695 | 1 | 0.003 | 4707 | 1 | 0.002 | 4717 | 1 | 0.017 | 4801 | 1 | 0.028 | 4938 | 1 | 0.193 | 6120 | 1 | 0.096 | 6770 | 1 | 0.431 | 11890 | 1 | 0.723 | 42966 | 1 | 0.593 | max_2 |  | 2 | Ok | max_2 |  |  | 6770 | 1 | 2 | 10155 | 2
1834-1 | Alpha-1-Fetoprotein [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 31237 | 7969 |  |  |  | Y | 0 | 0.6 | 17 | 0.7 | 34 | 0.8 | 43 | 0.9 | 61 | 1 | 212 | 0.6 | 2.4 | 3.9 | 8.6 | 710772.7 | 1030800 | 1 | 0.01 | 1041100 | 1 | 0.051 | 1097600 | 1 | 0.011 | 1109800 | 1 | 0.001 | 1110800 | 1 | 0.016 | 1129200 | 1 | 0.013 | 1143600 | 1 | 0.052 | 1205800 | 1 | 0.125 | 1377300 | 1 | 0.157 | 1634000 | 1 | 0.565 | max |  |  | Ok | max |  |  | 1634000 | 1 |  | 2450999.7
1863-0 | Anion gap 4 in Serum or Plasma | Blood | Chemistry | SCnc | mEq/L | 3120762 | 244190 |  |  |  |  | -80 | -23 | 1 | -22 | 2 | -21 | 1 | -14 | 1 | -11 | 1 | 5 | 12 | 14 | 16 | 36 | 63 | 1 | 0.011 | 64 | 1 | 0.022 | 66 | 1 | 0.033 | 69 | 1 | 0.021 | 71 | 1 | 0.021 | 73 | 1 | 0.03 | 76 | 1 | 0.01 | 77 | 1 | 0.107 | 89 | 2 | 0.018 | 91 | 1 | 0.482 | max |  |  | Ok | max |  |  | 91 | 1 |  | 148
19080-1 | Choriogonadotropin [Units/volume] in Serum or Plasma | Blood | Chemistry | ACnc | mIU/mL | 14806 | 6619 |  |  |  | Y | 0 | 0 | 2 | 5 | 184 | 6 | 164 | 7 | 149 | 8 | 128 | 5 | 201 | 2189.5 | 21508 | 462929.702 | 383007 | 1 | 0.048 | 402460 | 1 | 0.081 | 437894 | 1 | 0.087 | 479865 | 1 | 0.239 | 630252 | 1 | 0.106 | 704966 | 1 | 0.041 | 735352 | 1 | 0.097 | 814294 | 1 | 0.071 | 876703 | 1 | 0.365 | 1380344 | 1 | 0.472 | max_1 |  | 1 | Ok | max_1 |  |  | 876703 | 1 | 1 | 1315054.5 | 1
19123-9 | Magnesium [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 2265760 | 166374 |  | 9 |  | N | 0.0001 | 0 | 9 | 0.1 | 10 | 0.2 | 21 | 0.3 | 32 | 0.4 | 46 | 0.9 | 1.8 | 2 | 2.2 | 5.5 | 45 | 1 | 0.022 | 46 | 1 | 0.021 | 47 | 1 | 0.145 | 55 | 3 | 0.018 | 56 | 1 | 0.034 | 58 | 1 | 0.108 | 65 | 1 | 0.244 | 86 | 1 | 0.328 | 128 | 1 | 0.2 | 160 | 1 | 0.966 | max |  |  | Changed | max_7 | Exclude more values | ?NOK above 5,5 I think | 47 | 1 | 9 | 70.5 | 5
1920-8 | Aspartate aminotransferase [Enzymatic activity/volume] in Serum or Plasma | Blood | Chemistry | CCnc | IU/L | 1389258 | 167335 |  | 9 |  | N | 0.0001 | 0 | 9 | 1 | 11 | 2 | 21 | 3 | 39 | 4 | 81 | 6 | 19 | 27 | 46 | 8550 | 28904 | 1 | 0.002 | 28960 | 1 | 0.03 | 29850 | 1 | 0.07 | 32085 | 1 | 0.003 | 32170 | 1 | 0.055 | 34040 | 1 | 0.039 | 35435 | 1 | 0.027 | 36400 | 1 | 0.128 | 41730 | 1 | 0.021 | 42606 | 1 | 0.799 | max |  |  | Ok | max |  |  | 42606 | 1 |  | 63909
1963-8 | Bicarbonate [Moles/volume] in Serum or Plasma | Blood | Chemistry | SCnc | mEq/L | 3152166 | 246600 |  |  |  | N | 0.0001 | 2 | 28 | 2.5 | 1 | 3 | 63 | 3.3 | 1 | 3.4 | 1 | 7 | 23 | 26 | 28 | 45 | 59 | 1 | 0.017 | 60 | 1 | 0.079 | 65 | 1 | 0.137 | 75 | 1 | 0.215 | 95 | 1 | 0.021 | 97 | 1 | 0.01 | 98 | 1 | 0.103 | 109 | 1 | 0.177 | 132 | 1 | 0.404 | 220 | 1 | 0.669 | max_1 |  | 1 | Ok | max |  |  | 132 | 1 | 1 | 197 | 1
1968-7 | Bilirubin.direct [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 81707 | 25337 |  |  |  | Y | 0 | 0 | 754 | 0.1 | 23013 | 0.2 | 12600 | 0.3 | 7115 | 0.4 | 4610 | 0 | 0.1 | 0.3 | 1.3 | 39.515 | 46 | 1 | 0.021 | 47 | 1 | 0.011 | 47.5 | 1 | 0.021 | 48.5 | 1 | 0.01 | 49 | 1 | 0.02 | 50 | 1 | 0.008 | 50.4 | 1 | 0.084 | 55 | 1 | 0.137 | 63.7 | 1 | 0.063 | 68 | 1 | 0.419 | max |  |  | Ok | max |  |  | 68 | 1 |  | 102
1971-1 | Bilirubin.indirect [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 91092 | 27757 | 27 |  |  | Y | 0 | 0 | 450 | 0.1 | 5035 | 0.2 | 12379 | 0.3 | 13361 | 0.4 | 10414 | 0 | 0.3 | 0.5 | 1.1 | 19.447 | 24.3 | 1 | 0.004 | 24.4 | 1 | 0.008 | 24.6 | 1 | 0.016 | 25 | 1 | 0.008 | 25.2 | 1 | 0.023 | 25.8 | 1 | 0.026 | 26.5 | 1 | 0.067 | 28.4 | 1 | 0.021 | 29 | 1 | 0.02 | 29.6 | 1 | 0.343 | max |  |  | Ok | max |  |  | 29.6 | 1 |  | 44.4
1975-2 | Bilirubin.total [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 1219084 | 153009 |  |  |  | Y | 0 | 0 | 249 | 0.1 | 16661 | 0.2 | 148541 | 0.3 | 201223 | 0.4 | 173721 | 0.1 | 0.3 | 0.5 | 1 | 48.6 | 75.5 | 1 | 0.001 | 75.6 | 2 | 0.01 | 76.4 | 1 | 0.009 | 77.1 | 1 | 0.005 | 77.5 | 1 | 0.006 | 78 | 2 | 0.008 | 78.6 | 1 | 0.008 | 79.2 | 1 | 0.036 | 82.2 | 1 | 0.057 | 87.2 | 1 | 0.443 | max |  |  | Ok | max |  |  | 87.2 | 1 |  | 130.8
1988-5 | C reactive protein [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/L | 123755 | 43986 |  |  |  | N | 0.0001 | 0.1 | 496 | 0.2 | 1641 | 0.3 | 2077 | 0.4 | 2439 | 0.5 | 2662 | 0.1 | 1.7 | 6 | 31.2 | 296.6 | 392.4 | 1 | 0.031 | 405 | 1 | 0.112 | 456 | 1 | 0.002 | 456.9 | 1 | 0.14 | 531.3 | 1 | 0.064 | 567.4 | 1 | 0.015 | 576.2 | 1 | 0.017 | 586.2 | 1 | 0.001 | 586.6 | 1 | 0.035 | 608.1 | 1 | 0.512 | max |  |  | Ok | max |  |  | 608.1 | 1 |  | 912.1
1989-3 | 25-hydroxyvitamin D3 [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 81686 | 31568 |  |  |  | N | 0.0001 | 4 | 112 | 5 | 188 | 6 | 325 | 7 | 420 | 8 | 557 | 4 | 21 | 29 | 39 | 131 | 147 | 2 | 0.014 | 149 | 2 | 0.033 | 154 | 1 | 0.013 | 156 | 3 | 0.013 | 158 | 1 | 0.025 | 162 | 2 | 0.006 | 163 | 1 | 0.025 | 167 | 1 | 0.058 | 177 | 1 | 0.049 | 186 | 1 | 0.302 | max |  |  | OK | max |  |  | 186 | 1 |  | 277
1994-3 | Calcium.ionized [Moles/volume] in Blood | Blood | Blood Gas | SCnc | mmol/L | 295555 | 42468 |  |  |  | N | 0.0001 | 0.09 | 1 | 0.21 | 1 | 0.25 | 4 | 0.26 | 9 | 0.27 | 2 | 0.46 | 1.06 | 1.12 | 1.17 | 2.14 | 4.87 | 1 | 0.026 | 5 | 1 | 0.31 | 7.21 | 1 | 0.259 | 9.7 | 1 | 0.086 | 10.6 | 1 | 0.73 | 39 | 1 | 0.586 | 94 | 1 | 0.021 | 96 | 2 | 0.01 | 97 | 1 | 0.354 | 150 | 1 | 0.979 | max_1? | max_5 | 6 | Changed | max_8 | Exclude more values | ?looks impossible after 2,14 | 5 | 1 | 9 | 7.455 | 8
2039-6 | Carcinoembryonic Ag [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 39602 | 8978 |  |  |  | Y | 0 | 0.2 | 6 | 0.3 | 22 | 0.4 | 40 | 0.5 | 44 | 0.6 | 60 | 0.3 | 2.3 | 4.6 | 14 | 19263.872 | 35828 | 1 | 0.051 | 37745 | 1 | 0.036 | 39170 | 1 | 0.063 | 41803 | 1 | 0.013 | 42352 | 1 | 0.03 | 43665 | 1 | 0.082 | 47581 | 1 | 0.023 | 48686 | 1 | 0.017 | 49539 | 1 | 0.001 | 49593 | 1 | 0.612 | max |  |  | Ok | max |  |  | 49593 | 1 |  | 74389.4
20578-1 | Vancomycin [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ug/mL | 103617 | 24610 |  |  |  | Y | 0 | 0 | 11 | 0.2 | 2 | 0.3 | 2 | 0.4 | 2 | 0.5 | 3 | 1.7 | 12.6 | 17 | 21.8 | 80.667 | 144 | 1 | 0.019 | 146.8 | 1 | 0.024 | 150.4 | 1 | 0.001 | 150.6 | 1 | 0.014 | 152.8 | 1 | 0.001 | 153 | 1 | 0.203 | 192 | 1 | 0.324 | 284 | 1 | 0.194 | 352.5 | 1 | 0.501 | 706 | 1 | 0.771 | max_1 |  | 1 | Ok | max_1 |  | clin chemistry specialist: ok, leave the max, intoxication or wrong site of measurement, side of infusion, leave max_1 | 352.5 | 1 | 1 | 528.75 | 1
2075-0 | Chloride [Moles/volume] in Serum or Plasma | Blood | Chemistry | SCnc | mEq/L | 3333726 | 248031 |  |  | 1 | N | 10 | 3.4 | 1 | 11 | 3 | 39 | 1 | 45 | 2 | 46 | 1 | 78 | 99 | 102 | 105 | 128 | 147 | 3 | 0.007 | 148 | 2 | 0.007 | 149 | 1 | 0.007 | 150 | 3 | 0.007 | 151 | 2 | 0.007 | 152 | 1 | 0.007 | 153 | 1 | 0.007 | 154 | 2 | 0.007 | 155 | 1 | 0.623 | 405 | 1 | 0.178 | max_1 |  | 1 | OK | max |  |  | 155 | 1 | 1 | 230.8
2078-4 | Chloride [Moles/volume] in Urine | Urine | Chemistry | SCnc | mEq/L | 36563 | 19050 |  |  |  | N | 0.0001 | 10 | 886 | 11 | 758 | 12 | 655 | 13 | 589 | 14 | 561 | 10 | 26 | 50 | 87 | 249 | 245 | 2 | 0.004 | 246 | 5 | 0.004 | 247 | 5 | 0.004 | 248 | 6 | 0.004 | 249 | 10 | 0.004 | 250 | 5 | 0.024 | 256 | 1 | 0.115 | 288 | 1 | 0.054 | 304 | 1 | 0.033 | 314 | 1 | 0.214 | max |  |  | OK | max |  |  | 314 | 1 |  | 466
2085-9 | Cholesterol in HDL [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 257360 | 86779 |  |  |  | Y | 0 | 0 | 4 | 1 | 1 | 2 | 2 | 2.1 | 1 | 3 | 10 | 7 | 43 | 53 | 66 | 158 | 261 | 1 | 0.033 | 270 | 1 | 0.036 | 280 | 1 | 0.011 | 283 | 1 | 0.004 | 284 | 1 | 0.004 | 285 | 1 | 0.037 | 296 | 1 | 0.023 | 303 | 1 | 0.053 | 320 | 1 | 0.045 | 335 | 1 | 0.528 | max |  |  | Ok | max |  |  | 335 | 1 |  | 502.5
2093-3 | Cholesterol [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 263966 | 88366 |  |  |  | N | 0.0001 | 5 | 1 | 9 | 1 | 12 | 2 | 14 | 1 | 16 | 1 | 47 | 155 | 183 | 214 | 528.017 | 1125 | 1 | 0.027 | 1156 | 1 | 0.029 | 1190 | 1 | 0.074 | 1285 | 1 | 0.022 | 1314 | 1 | 0.076 | 1421 | 1 | 0.01 | 1435 | 1 | 0.008 | 1446 | 1 | 0.049 | 1520 | 1 | 0.362 | 2380 | 1 | 0.655 | max_1 |  | 1 | Ok | max_1 |  |  | 1520 | 1 | 1 | 2277.5 | 1
21000-5 | Erythrocyte distribution width [Entitic volume] by Automated count | Blood | Hematology | EntVol | fL | 1429105 | 126428 |  |  |  | N | 0.0001 | 12.3 | 1 | 12.4 | 1 | 12.7 | 1 | 15.6 | 1 | 28.8 | 1 | 33.8 | 44.1 | 48.5 | 54.8 | 104.6 | 137 | 1 | 0.01 | 138.2 | 1 | 0.011 | 139.6 | 1 | 0.056 | 147.1 | 1 | 0.007 | 148.1 | 1 | 0.014 | 150 | 1 | 0.009 | 151.2 | 1 | 0.062 | 160.4 | 1 | 0.105 | 177.7 | 1 | 0.971 | 5802 | 1 | 0.442 | max_1 |  | 1 | Ok | max_1 |  |  | 177.7 | 1 | 1 | 260.4 | 1
2132-9 | Cobalamin (Vitamin B12) [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | pg/mL | 103909 | 53866 |  |  |  | N | 0.0001 | 37 | 1 | 38 | 3 | 40 | 1 | 41 | 1 | 42 | 1 | 85.91 | 403 | 568 | 824 | 1992 | 1991 | 9 | 0.001 | 1992 | 8 | 0.001 | 1993 | 6 | 0.001 | 1994 | 6 | 0.001 | 1995 | 5 | 0.001 | 1996 | 3 | 0.001 | 1997 | 9 | 0.001 | 1998 | 6 | 0.001 | 1999 | 5 | 0.001 | 2000 | 4 | 0.004 | max |  |  | OK | max |  |  | 2000 | 4 |  | 2981.5
2143-6 | Cortisol [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ug/dL | 26819 | 12776 |  |  |  | N | 0.0001 | 0.1 | 2 | 0.2 | 12 | 0.3 | 62 | 0.4 | 84 | 0.5 | 88 | 0.2 | 8.4 | 14.8 | 23.3 | 1620.18 | 1721 | 1 | 0.014 | 1746 | 1 | 0.111 | 1964 | 1 | 0.058 | 2085 | 1 | 0.057 | 2211 | 1 | 0.047 | 2320 | 1 | 0.008 | 2339 | 1 | 0.048 | 2456 | 1 | 0.081 | 2672 | 1 | 0.048 | 2807 | 1 | 0.423 | max |  |  | Ok | max |  |  | 2807 | 1 |  | 4210.45
2157-6 | Creatine kinase [Enzymatic activity/volume] in Serum or Plasma | Blood | Chemistry | CCnc | IU/L | 295831 | 78559 |  |  |  | N | 0.0001 | 1 | 1 | 2 | 4 | 3 | 5 | 4 | 19 | 5 | 38 | 7 | 56 | 102 | 230 | 147613.44 | 323080 | 1 | 0.037 | 335620 | 1 | 0.022 | 343260 | 1 | 0.097 | 380080 | 1 | 0.028 | 391200 | 1 | 0.101 | 435000 | 1 | 0.079 | 472480 | 1 | 0 | 472680 | 1 | 0.007 | 475800 | 1 | 0.196 | 591950 | 1 | 0.751 | max |  |  | Ok | max |  |  | 591950 | 1 |  | 887924.5
2160-0 | Creatinine [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 3453128 | 252374 |  | 135 |  | N | 0.0001 | 0 | 135 | 0.07 | 1 | 0.08 | 1 | 0.1 | 619 | 0.2 | 5333 | 0.2 | 0.7 | 0.9 | 1.3 | 15.9 | 38.1 | 1 | 0.005 | 38.3 | 1 | 0.077 | 41.5 | 2 | 0.005 | 41.7 | 1 | 0.03 | 43 | 1 | 0.312 | 62.5 | 1 | 0.155 | 74 | 1 | 0.075 | 80 | 1 | 0.891 | 736 | 1 | 0.089 | 808 | 1 | 0.98 | max? | max_2 | 2 | OK | max_2 |  | ?80 as max is already very high | 80 | 1 | 2 | 120 | 2
2161-8 | Creatinine [Mass/volume] in Urine | Urine | Chemistry | MCnc | mg/dL | 195937 | 52032 |  |  |  | Y | 0 | 0 | 9 | 0.1 | 5 | 0.2 | 6 | 0.3 | 5 | 0.4 | 4 | 3 | 51 | 86 | 133 | 589.031 | 797 | 1 | 0.007 | 803 | 1 | 0.014 | 814 | 1 | 0.048 | 855 | 1 | 0.006 | 860 | 1 | 0.003 | 863 | 1 | 0.025 | 885 | 1 | 0.027 | 910 | 1 | 0.061 | 969 | 1 | 0.164 | 1159 | 1 | 0.492 | max |  |  | Ok | max |  |  | 1159 | 1 |  | 1738.5
2276-4 | Ferritin [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 144621 | 57820 |  |  |  | N | 0.0001 | 0.6 | 1 | 1.1 | 2 | 1.2 | 1 | 1.3 | 6 | 1.4 | 3 | 2.1 | 36 | 101 | 293 | 59500.194 | 178800 | 1 | 0.029 | 184100 | 1 | 0.024 | 188650 | 1 | 0.04 | 196610 | 1 | 0.018 | 200205 | 1 | 0.013 | 202880 | 1 | 0.268 | 277120 | 1 | 0.092 | 305080 | 1 | 0.164 | 365050 | 1 | 0.28 | 506700 | 1 | 0.883 | max |  |  | Ok | max |  |  | 506700 | 1 |  | 760049.7
2284-8 | Folate [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 40522 | 27646 |  |  |  | N | 0.0001 | 2 | 62 | 2.1 | 4 | 2.4 | 5 | 2.5 | 2 | 2.6 | 4 | 2 | 9.4 | 12.4 | 15.6 | 20 | 19.1 | 161 | 0.006 | 19.2 | 149 | 0.006 | 19.3 | 161 | 0.006 | 19.4 | 147 | 0.006 | 19.5 | 155 | 0.006 | 19.6 | 141 | 0.006 | 19.7 | 140 | 0.006 | 19.8 | 136 | 0.006 | 19.9 | 141 | 0.006 | 20 | 267 | 0 | max |  |  | OK | max |  |  | 20 | 267 |  | 29
2324-2 | Gamma glutamyl transferase [Enzymatic activity/volume] in Serum or Plasma | Blood | Chemistry | CCnc | IU/L | 16477 | 9145 |  |  |  | N | 0.0001 | 1 | 1 | 2 | 2 | 3 | 4 | 4 | 10 | 5 | 14 | 4 | 27 | 63 | 180 | 4295.732 | 3824 | 1 | 0.002 | 3830 | 1 | 0.138 | 4442 | 1 | 0.078 | 4818 | 1 | 0.002 | 4829 | 1 | 0.151 | 5687 | 1 | 0.088 | 6234 | 1 | 0.014 | 6322 | 1 | 0.062 | 6740 | 1 | 0.087 | 7380 | 1 | 0.418 | max |  |  | Ok | max |  |  | 7380 | 1 |  | 11069.5
2336-6 | Globulin [Mass/volume] in Serum | Blood | Chemistry | MCnc | g/dL | 132974 | 38113 |  |  |  | N | 0.0001 | 0.1 | 1 | 0.3 | 2 | 0.4 | 1 | 0.5 | 4 | 0.6 | 7 | 1 | 2.3 | 2.6 | 3 | 8.7 | 10.6 | 2 | 0.009 | 10.7 | 1 | 0.009 | 10.8 | 1 | 0.009 | 10.9 | 2 | 0.009 | 11 | 1 | 0.06 | 11.7 | 1 | 0.049 | 12.3 | 1 | 0.047 | 12.9 | 1 | 0.045 | 13.5 | 1 | 0.095 | 14.9 | 1 | 0.419 | max |  |  | Ok | max |  |  | 14.9 | 1 |  | 22.3
2342-4 | Glucose [Mass/volume] in Cerebral spinal fluid | Cerebrospinal Fluid | Chemistry | MCnc | mg/dL | 13107 | 9175 |  | 11 |  | N | 0.0001 | 0 | 11 | 1 | 10 | 2 | 4 | 3 | 8 | 4 | 6 | 0 | 59 | 66 | 77 | 296.798 | 260 | 1 | 0.058 | 276 | 2 | 0.048 | 290 | 1 | 0.003 | 291 | 1 | 0.043 | 304 | 1 | 0.01 | 307 | 1 | 0.016 | 312 | 1 | 0.19 | 385 | 1 | 0.137 | 446 | 1 | 0.186 | 548 | 1 | 0.458 | max |  |  | Ok | max |  |  | 548 | 1 |  | 822
2345-7 | Glucose [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 3113229 | 249595 |  | 3 |  | N | 0.0001 | 0 | 3 | 0.12 | 1 | 1 | 1 | 2 | 2 | 2.1 | 1 | 35 | 94 | 111 | 142 | 838 | 3565 | 1 | 0.01 | 3600 | 1 | 0.006 | 3620 | 1 | 0.016 | 3678 | 1 | 0.037 | 3819 | 1 | 0.021 | 3900 | 1 | 0.027 | 4010 | 1 | 0.238 | 5260 | 1 | 0.099 | 5840 | 1 | 0.995 | 1276103 | 1 | 0.857 | max_1 |  |  | Changed | max_9 | Exclude more values | clin chemistry specialits: stop at 860? | 3565 | 1 | 9 | 5347.5 | 1
24467-3 | CD3+CD4+ (T4 helper) cells [#/volume] in Blood | Blood | Hematology | NCnc | #/uL | 27555 | 4753 |  |  |  | Y | 0 | 0 | 21 | 0.2 | 2 | 0.9 | 1 | 1 | 48 | 2 | 32 | 0 | 248 | 445 | 682 | 3529.078 | 4794 | 1 | 0.044 | 5013 | 1 | 0.227 | 6483 | 1 | 0.404 | 10884 | 1 | 0.133 | 12554 | 1 | 0.194 | 15580 | 1 | 0.224 | 20088 | 1 | 0.423 | 34835 | 1 | 0.476 | 66540 | 1 | 0.569 | 154449 | 1 | 0.824 | max_3? | max_7 | 7 | Changed | max_3 | Reinclude excluded outliers |  | 20088 | 1 | 3 | 30132 | 3
2458-8 | IgA [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 43553 | 17924 |  |  |  | Y | 0 | 5 | 161 | 6 | 246 | 7 | 274 | 8 | 239 | 9 | 240 | 5 | 66 | 153 | 269 | 6668.133 | 7353 | 1 | 0.011 | 7434 | 1 | 0.005 | 7470 | 1 | 0.004 | 7497 | 1 | 0.008 | 7554 | 1 | 0.005 | 7590 | 1 | 0.004 | 7623 | 1 | 0.038 | 7926 | 1 | 0.018 | 8070 | 1 | 0.018 | 8217 | 1 | 0.189 | max |  |  | OK | max |  | Agammaglobulinemia | 8217 | 1 |  | 12323
2465-3 | IgG [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 48565 | 14774 |  |  |  | Y | 0 | 43 | 1 | 44 | 2 | 47 | 2 | 49 | 1 | 50 | 1 | 63 | 570 | 864 | 1271 | 8672.038 | 10347 | 1 | 0.022 | 10584 | 1 | 0.007 | 10653 | 1 | 0.038 | 11075 | 1 | 0.001 | 11084 | 1 | 0.161 | 13206 | 1 | 0.042 | 13776 | 1 | 0 | 13778 | 1 | 0.097 | 15254 | 1 | 0.017 | 15520 | 1 | 0.442 | max |  |  | Ok | max |  | Agammaglobulinemia | 15520 | 1 |  | 23258.5
2472-9 | IgM [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 37292 | 13116 |  |  |  | Y | 0 | 3 | 151 | 4 | 204 | 5 | 344 | 6 | 426 | 7 | 437 | 3 | 27 | 57 | 119 | 7184.904 | 7761 | 1 | 0.002 | 7779 | 1 | 0.012 | 7872 | 1 | 0.023 | 8060 | 1 | 0.003 | 8085 | 1 | 0.007 | 8139 | 1 | 0.004 | 8169 | 1 | 0.021 | 8341 | 1 | 0.074 | 9009 | 1 | 0.018 | 9171 | 1 | 0.217 | max |  |  | OK | max |  | Agammaglobulinemia | 9171 | 1 |  | 13755
2498-4 | Iron [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ug/dL | 123372 | 54768 |  |  |  | N | 0.0001 | 5 | 30 | 6 | 81 | 7 | 152 | 8 | 269 | 9 | 434 | 6 | 33 | 56 | 85 | 440.195 | 773 | 1 | 0.024 | 792 | 1 | 0.084 | 864 | 1 | 0.032 | 892 | 1 | 0.021 | 911 | 1 | 0.027 | 936 | 1 | 0.049 | 984 | 1 | 0.016 | 1000 | 1 | 0.016 | 1016 | 1 | 0.02 | 1037 | 1 | 0.578 | max |  |  | Ok | max |  |  | 1037 | 1 |  | 1553
2500-7 | Iron binding capacity [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ug/dL | 110400 | 51262 |  |  |  | N | 0.0001 | 17 | 1 | 18 | 1 | 20 | 1 | 23 | 1 | 25 | 1 | 48 | 244 | 313 | 377 | 655 | 723 | 1 | 0.001 | 724 | 1 | 0.007 | 729 | 2 | 0.01 | 736 | 1 | 0.001 | 737 | 1 | 0.007 | 742 | 1 | 0.008 | 748 | 1 | 0.004 | 751 | 2 | 0.003 | 753 | 1 | 0.044 | 787 | 1 | 0.171 | max |  |  | OK | max |  |  | 787 | 1 |  | 1172
2532-0 | Lactate dehydrogenase [Enzymatic activity/volume] in Serum or Plasma | Blood | Chemistry | CCnc | IU/L | 497131 | 74075 |  |  |  | N | 0.0001 | 13 | 1 | 31 | 4 | 32 | 1 | 33 | 3 | 34 | 1 | 72 | 180 | 229 | 326 | 12819.53 | 36600 | 1 | 0.076 | 39600 | 1 | 0.01 | 40000 | 1 | 0.035 | 41440 | 1 | 0.027 | 42600 | 1 | 0.019 | 43440 | 1 | 0.011 | 43920 | 1 | 0.075 | 47500 | 1 | 0.25 | 63325 | 1 | 0.832 | 377000 | 1 | 0.798 | max_1 |  | 1 | Ok | max_1 |  |  | 63325 | 1 | 1 | 94981 | 1
2571-8 | Triglyceride [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 263676 | 89023 |  | 1 |  | N | 0.0001 | 0 | 1 | 1 | 3 | 2 | 1 | 5 | 1 | 6 | 1 | 24 | 84 | 120 | 179 | 3321.391 | 8965 | 1 | 0.007 | 9032 | 1 | 0.015 | 9170 | 1 | 0.01 | 9261 | 1 | 0.056 | 9807 | 1 | 0.034 | 10149 | 1 | 0.028 | 10440 | 1 | 0.002 | 10460 | 1 | 0.098 | 11600 | 1 | 0.072 | 12496 | 1 | 0.734 | max |  |  | Ok | max |  |  | 12496 | 1 |  | 18744
26454-9 | Erythrocytes [#/volume] in Cerebral spinal fluid | Cerebrospinal Fluid | Hematology | NCnc | #/uL | 17972 | 9366 |  |  |  | Y | 0 | 0 | 3628 | 1 | 2709 | 1.04 | 1 | 2 | 1009 | 3 | 672 | 0 | 1 | 6 | 224 | 550851.039 | 527500 | 1 | 0.042 | 550849 | 1 | 0 | 551000 | 1 | 0.104 | 615000 | 1 | 0.04 | 640441 | 1 | 0.044 | 670000 | 1 | 0.196 | 832938 | 1 | 0.06 | 886000 | 1 | 0.43 | 1555000 | 1 | 0.361 | 2435000 | 1 | 0.378 | max_2 |  | 1 | Changed | max | Reinclude excluded outliers | ok? The max probably is also possible in case of a bleeding? | 2435000 | 1 |  | 3652500
26457-2 | Erythrocytes [#/volume] in Peritoneal fluid | Ascites | Hematology | NCnc | #/uL | 11910 | 3602 |  |  |  | Y | 0 | 0 | 123 | 1 | 73 | 2 | 52 | 3 | 32 | 4 | 39 | 0 | 203 | 843.5 | 3731.5 | 934782.958 | 830782 | 1 | 0.031 | 857378 | 1 | 0.032 | 885757 | 1 | 0.007 | 891936 | 1 | 0.045 | 934300 | 1 | 0.011 | 945153 | 1 | 0.04 | 985000 | 1 | 0.242 | 1300000 | 1 | 0.167 | 1560000 | 1 | 0.262 | 2115000 | 1 | 0.558 | max |  |  | Ok | max |  |  | 2115000 | 1 |  | 3172500
2692-2 | Osmolality of Serum or Plasma | Blood | Chemistry | Osmol | mOsm/kg | 42408 | 13827 |  |  |  | N | 100 | 119 | 1 | 205 | 1 | 206 | 1 | 207 | 1 | 212 | 3 | 223 | 280 | 294 | 309 | 429.591 | 437 | 3 | 0.003 | 438 | 1 | 0.003 | 439 | 1 | 0.003 | 440 | 1 | 0.006 | 442 | 2 | 0.021 | 449 | 1 | 0.035 | 461 | 1 | 0.017 | 467 | 1 | 0.009 | 470 | 1 | 0.006 | 472 | 1 | 0.12 | max |  |  | OK | max |  |  | 472 | 1 |  | 648.5
2695-5 | Osmolality of Urine | Urine | Chemistry | Osmol | mOsm/kg | 52853 | 24255 |  |  |  | N | 0.0001 | 3 | 3 | 9 | 1 | 12 | 1 | 16 | 1 | 23 | 1 | 39.427 | 306 | 385 | 509 | 1142.573 | 1208 | 2 | 0.008 | 1218 | 1 | 0.003 | 1222 | 1 | 0.009 | 1233 | 1 | 0.007 | 1242 | 1 | 0.003 | 1246 | 1 | 0.002 | 1248 | 1 | 0.001 | 1249 | 1 | 0.006 | 1257 | 1 | 0.234 | 1640 | 1 | 0.304 | max |  |  | OK | max |  |  | 1640 | 1 |  | 2458.5
2731-8 | Parathyrin.intact [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | pg/mL | 51629 | 16710 |  |  |  | N | 0.0001 | 2 | 3 | 3 | 10 | 3.8 | 1 | 4 | 15 | 5 | 37 | 4 | 46 | 72 | 122 | 2802.475 | 3528 | 1 | 0.019 | 3598 | 1 | 0.04 | 3746 | 1 | 0.018 | 3816 | 1 | 0.021 | 3899 | 1 | 0.052 | 4114 | 1 | 0.035 | 4262 | 1 | 0.071 | 4588 | 1 | 0.003 | 4600 | 1 | 0.02 | 4693 | 1 | 0.403 | max |  |  | Ok | max |  |  | 4693 | 1 |  | 7038.5
2777-1 | Phosphate [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 2173235 | 164252 |  | 1 |  | N | 0.0001 | 0 | 1 | 0.1 | 6 | 0.2 | 12 | 0.3 | 26 | 0.4 | 78 | 0.8 | 2.9 | 3.4 | 4 | 11.8 | 32 | 1 | 0.021 | 32.7 | 1 | 0.003 | 32.8 | 1 | 0.041 | 34.2 | 1 | 0.017 | 34.8 | 1 | 0.084 | 38 | 1 | 0.003 | 38.1 | 1 | 0.153 | 45 | 1 | 0.153 | 53.1 | 1 | 0.084 | 58 | 2 | 0.797 | max |  |  | Changed | max_3 | Exclude more values | ?NOK 11,8 is already super high | 38.1 | 1 | 4 | 57.15 | 2
2823-3 | Potassium [Moles/volume] in Serum or Plasma | Blood | Chemistry | SCnc | mEq/L | 3573186 | 248371 |  |  |  | N | 0.0001 | 0.1 | 1 | 0.6 | 3 | 0.7 | 5 | 0.8 | 3 | 0.9 | 4 | 2.3 | 3.8 | 4.1 | 4.5 | 8.9 | 22 | 1 | 0.018 | 22.4 | 1 | 0.155 | 26.5 | 1 | 0.198 | 33 | 1 | 0.436 | 58.4 | 1 | 0.551 | 130 | 1 | 0.03 | 134 | 1 | 0.007 | 135 | 2 | 0.555 | 303 | 1 | 0.437 | 538 | 1 | 0.935 | max_2? | max_6 | 7 | Changed | max_8 | Exclude more values |  | 22.4 | 1 | 9 | 33.55 | 1
2828-2 | Potassium [Moles/volume] in Urine | Urine | Chemistry | SCnc | mEq/L | 41890 | 20796 |  |  |  | N | 0.0001 | 2 | 43 | 3 | 95 | 4 | 162 | 5 | 202 | 6 | 257 | 2 | 21 | 33 | 49 | 100 | 97 | 53 | 0.01 | 98 | 65 | 0.01 | 99 | 50 | 0.01 | 100 | 34 | 0.058 | 106 | 1 | 0.037 | 110 | 1 | 0.053 | 116 | 2 | 0.087 | 126.8 | 1 | 0.035 | 131.3 | 1 | 0.114 | 148 | 1 | 0.329 | max |  |  | OK | max |  |  | 148 | 1 |  | 221
2842-3 | Prolactin [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 10180 | 6403 |  |  |  | N | 0.0001 | 0.1 | 8 | 0.2 | 5 | 0.3 | 7 | 0.4 | 5 | 0.5 | 3 | 0.1 | 8.2 | 13 | 23 | 7701.449 | 3000 | 1 | 0.127 | 3437 | 1 | 0.032 | 3551 | 1 | 0.104 | 3962 | 1 | 0.116 | 4480 | 1 | 0.442 | 8022 | 1 | 0.121 | 9130 | 1 | 0.042 | 9530 | 1 | 0.205 | 11980 | 1 | 0.518 | 24830 | 1 | 0.357 | max_1? | max_5 | 5 | Changed | max_1 | Reinclude excluded outliers | ok? (prolactinoma levels are more than 200 ng/mL; how much higher?? | 11980 | 1 | 1 | 17969.95 | 1
2857-1 | Prostate specific Ag [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 55920 | 17875 |  |  |  | Y | 0 | 0.03 | 59 | 0.04 | 121 | 0.05 | 105 | 0.055 | 1 | 0.06 | 84 | 0.03 | 0.7 | 1.5 | 4.4 | 3613 | 4343 | 1 | 0.013 | 4402 | 1 | 0.074 | 4754 | 1 | 0.011 | 4809 | 1 | 0.008 | 4850 | 1 | 0.014 | 4917 | 1 | 0.009 | 4962 | 1 | 0.235 | 6490 | 1 | 0.241 | 8550 | 1 | 0.306 | 12325 | 1 | 0.707 | max |  |  | Ok | max |  |  | 12325 | 1 |  | 18487.485
2880-3 | Protein [Mass/volume] in Cerebral spinal fluid | Cerebrospinal Fluid | Chemistry | MCnc | mg/dL | 13407 | 9275 |  |  |  | N | 0.0001 | 0.2 | 1 | 4 | 1 | 5 | 1 | 6 | 24 | 7 | 26 | 6 | 27 | 39 | 61 | 4966.24 | 4500 | 1 | 0.028 | 4632 | 1 | 0.031 | 4780 | 1 | 0.026 | 4910 | 1 | 0.037 | 5100 | 1 | 0.061 | 5430 | 1 | 0.194 | 6740 | 1 | 0.029 | 6940 | 1 | 0.043 | 7250 | 1 | 0.347 | 11100 | 1 | 0.315 | max_1 |  | 1 | Changed | max | Reinclude excluded outliers | https://onlinelibrary.wiley.com/doi/epdf/10.1111/ijlh.13815 | 11100 | 1 |  | 16649.9
2885-2 | Protein [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | g/dL | 168194 | 48621 |  |  |  | N | 0.0001 | 0.9 | 1 | 1.2 | 1 | 1.3 | 1 | 1.4 | 2 | 1.7 | 2 | 3.3 | 6.4 | 6.9 | 7.3 | 11.6 | 14 | 3 | 0.008 | 14.1 | 1 | 0.022 | 14.4 | 1 | 0.015 | 14.6 | 2 | 0.074 | 15.7 | 1 | 0.02 | 16 | 1 | 0.026 | 16.4 | 1 | 0.037 | 17 | 1 | 0.058 | 18 | 1 | 0.039 | 18.7 | 1 | 0.399 | max |  |  | Ok | max |  |  | 18.7 | 1 |  | 27.6
2888-6 | Protein [Mass/volume] in Urine | Urine | Chemistry | MCnc | mg/dL | 86093 | 21319 |  |  |  | Y | 0 | 0.2 | 1 | 0.3 | 1 | 0.4 | 1 | 0.7 | 1 | 4 | 505 | 4 | 12 | 23 | 63 | 2918.825 | 4820 | 1 | 0.02 | 4920 | 1 | 0.035 | 5100 | 1 | 0.234 | 6660 | 1 | 0.04 | 6940 | 1 | 0.072 | 7480 | 1 | 0.003 | 7500 | 1 | 0.069 | 8060 | 1 | 0.036 | 8358 | 1 | 0.315 | 12210 | 1 | 0.761 | max |  |  | Ok | max |  |  | 12210 | 1 |  | 18314.9
2890-2 | Protein/Creatinine [Mass Ratio] in Urine | Urine | Chemistry | MRto | Ratio | 79520 | 18206 |  |  |  | Y | 0 | 0 | 519 | 0.1 | 23875 | 0.2 | 14750 | 0.3 | 7797 | 0.4 | 4388 | 0 | 0.1 | 0.3 | 0.8 | 39.192 | 95.9 | 1 | 0.025 | 98.4 | 1 | 0.421 | 170 | 1 | 0.366 | 268.3 | 1 | 0.096 | 296.9 | 1 | 0.002 | 297.5 | 1 | 0.073 | 321 | 1 | 0.064 | 342.9 | 1 | 0.035 | 355.5 | 1 | 0.447 | 642.5 | 1 | 0.89 | max_1? | max_8 | 8 | Changed | max_1 | Reinclude excluded outliers |  | 355.5 | 1 | 1 | 533.25 | 1
29247-4 | Sirolimus [Mass/volume] in Blood | Blood | Chemistry | MCnc | ng/mL | 11049 | 460 |  |  |  | Y | 0 | 1.7 | 1 | 2 | 17 | 2.1 | 17 | 2.2 | 22 | 2.3 | 34 | 2 | 5.3 | 7.2 | 9.6 | 29.428 | 28.3 | 1 | 0.004 | 28.4 | 1 | 0.007 | 28.6 | 1 | 0.004 | 28.7 | 1 | 0.004 | 28.8 | 1 | 0.007 | 29 | 1 | 0.032 | 29.9 | 1 | 0.004 | 30 | 2 | 0.22 | 38 | 1 | 0.047 | 39.8 | 1 | 0.272 | max |  |  | OK | max |  |  | 39.8 | 1 |  | 58.85
2951-2 | Sodium [Moles/volume] in Serum or Plasma | Blood | Chemistry | SCnc | mEq/L | 3401050 | 248267 |  |  | 4 | N | 10 | 1.36 | 1 | 3.4 | 1 | 3.8 | 1 | 5.1 | 1 | 14 | 1 | 114 | 136 | 139 | 141 | 162 | 185 | 6 | 0.005 | 186 | 2 | 0.005 | 187 | 3 | 0.021 | 191 | 1 | 0.026 | 196 | 1 | 0.02 | 200 | 1 | 0.198 | 249 | 1 | 0.761 | 1036 | 1 | 0.222 | 1332 | 1 | 0.002 | 1335 | 1 | 0.88 | max? | max_3 | 3 | Ok | max_3 |  |  | 249 | 1 | 3 | 372.82
2955-3 | Sodium [Moles/volume] in Urine | Urine | Chemistry | SCnc | mEq/L | 59324 | 27972 |  |  |  | N | 0.0001 | 6 | 1 | 7 | 2 | 10 | 901 | 11 | 780 | 12 | 690 | 10 | 30 | 54 | 87 | 248 | 257 | 1 | 0.046 | 269 | 1 | 0.011 | 272 | 1 | 0.022 | 278 | 1 | 0.007 | 280 | 1 | 0.028 | 288 | 1 | 0.017 | 293 | 1 | 0.077 | 317 | 1 | 0.307 | 455 | 1 | 0.229 | 588 | 1 | 0.584 | max |  |  | Ok | max |  |  | 588 | 1 |  | 879
2986-8 | Testosterone [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/dL | 16419 | 7589 |  |  |  | N | 0.0001 | 2 | 10 | 2.8 | 1 | 3 | 47 | 4 | 66 | 5 | 74 | 2 | 148 | 311 | 478 | 1486 | 1476 | 1 | 0.001 | 1478 | 1 | 0.003 | 1483 | 1 | 0.002 | 1486 | 2 | 0.001 | 1488 | 1 | 0.001 | 1490 | 1 | 0.003 | 1495 | 2 | 0.001 | 1496 | 1 | 0.16 | 1780 | 1 | 0.036 | 1846 | 1 | 0.195 | max |  |  | OK | max |  |  | 1846 | 1 |  | 2768
30089-7 | Transitional cells [#/area] in Urine sediment by Microscopy high power field | Urine | Hematology | Naric | #/hpf | 13530 | 10108 |  |  |  | Y | 0 | 0 | 4 | 1 | 10187 | 2 | 1860 | 3 | 643 | 3.5 | 1 | 1 | 1 | 1 | 1 | 52 | 44 | 1 | 0.043 | 46 | 1 | 0.042 | 48 | 1 | 0.04 | 50 | 1 | 0.02 | 51 | 1 | 0.019 | 52 | 2 | 0.148 | 61 | 2 | 0.09 | 67 | 1 | 0.681 | 210 | 1 | 0.146 | 246 | 1 | 0.789 | max? | max_2 | 2 | Changed | max | Reinclude excluded outliers | ok, I think this is countable in the chamber, and patients with renal disease possibly? | 246 | 1 |  | 369
3016-3 | Thyrotropin [Units/volume] in Serum or Plasma | Blood | Chemistry | ACnc | uIU/mL | 327776 | 104547 |  |  |  | N | 0.0001 | 0.01 | 231 | 0.02 | 410 | 0.021 | 66 | 0.022 | 79 | 0.023 | 75 | 0.01 | 1.1 | 1.8 | 3 | 121.111 | 310 | 1 | 0.04 | 323 | 1 | 0.012 | 327 | 2 | 0.027 | 336 | 1 | 0.048 | 353 | 1 | 0.049 | 371 | 1 | 0.019 | 378 | 1 | 0.057 | 401 | 1 | 0.02 | 409 | 1 | 0.349 | 628 | 1 | 0.704 | max_1 |  | 1 | Ok | max_1 |  |  | 409 | 1 | 1 | 613.495 | 1
3024-7 | Thyroxine (T4) free [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/dL | 106603 | 38769 |  |  |  | N | 0.0001 | 0.1 | 37 | 0.11 | 10 | 0.12 | 10 | 0.13 | 12 | 0.14 | 14 | 0.12 | 1 | 1.2 | 1.4 | 6.8 | 6.8 | 4 | 0.015 | 6.9 | 6 | 0.014 | 7 | 10 | 0.014 | 7.1 | 3 | 0.014 | 7.2 | 5 | 0.014 | 7.3 | 6 | 0.014 | 7.4 | 8 | 0.014 | 7.5 | 4 | 0.013 | 7.6 | 4 | 0.013 | 7.7 | 5 | 0.118 | max |  |  | OK | max |  |  | 7.7 | 5 |  | 11.5
3026-2 | Thyroxine (T4) [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ug/dL | 22295 | 11589 |  |  |  | N | 0.0001 | 0.5 | 1 | 0.6 | 5 | 0.7 | 4 | 0.8 | 3 | 0.9 | 9 | 0.8 | 5.9 | 7.3 | 9 | 36.785 | 36.8 | 1 | 0.034 | 38.06 | 1 | 0.009 | 38.4 | 1 | 0.01 | 38.8 | 1 | 0.057 | 41.1 | 1 | 0.022 | 42 | 2 | 0.046 | 44 | 1 | 0.099 | 48.8 | 1 | 0.008 | 49.2 | 1 | 0.008 | 49.6 | 1 | 0.261 | max |  |  | OK | max |  |  | 49.6 | 1 |  | 74.15
3034-6 | Transferrin [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 110461 | 51270 |  |  |  | N | 0.0001 | 13 | 1 | 14 | 1 | 15 | 1 | 18 | 1 | 19 | 1 | 37 | 188 | 241 | 290 | 504 | 556 | 1 | 0.002 | 557 | 1 | 0.007 | 561 | 2 | 0.009 | 566 | 1 | 0.002 | 567 | 1 | 0.007 | 571 | 1 | 0.007 | 575 | 1 | 0.005 | 578 | 2 | 0.002 | 579 | 1 | 0.044 | 605 | 1 | 0.171 | max |  |  | OK | max |  |  | 605 | 1 |  | 901
30394-1 | Granulocytes [#/volume] in Blood | Blood | Hematology | NCnc | #/uL | 98845 | 6713 |  |  |  | Y | 0 | 0 | 1886 | 0.7 | 1 | 1 | 13 | 1.7 | 1 | 2 | 36 | 0 | 1389 | 2910 | 4815.5 | 51753.47 | 90420 | 1 | 0.006 | 91000 | 1 | 0.213 | 115661 | 1 | 0.003 | 116000 | 1 | 0.058 | 123100 | 1 | 0.034 | 127377 | 1 | 0.079 | 138261 | 1 | 0.054 | 146200 | 1 | 0.213 | 185745 | 1 | 0.225 | 239700 | 1 | 0.784 | max |  |  | Ok | max |  |  | 239700 | 1 |  | 359550
3040-3 | Lipase [Enzymatic activity/volume] in Serum or Plasma | Blood | Chemistry | CCnc | IU/L | 241235 | 97115 |  | 4 |  | N | 0.0001 | 0 | 4 | 1 | 4 | 2 | 3 | 3 | 77 | 4 | 224 | 4 | 22 | 33 | 55 | 8705.28 | 21930 | 1 | 0.111 | 24680 | 1 | 0.013 | 25010 | 1 | 0.122 | 28470 | 1 | 0.016 | 28940 | 1 | 0.079 | 31420 | 1 | 0.02 | 32060 | 1 | 0.063 | 34200 | 1 | 0.095 | 37800 | 1 | 0.594 | 93000 | 1 | 0.77 | max_1 |  | 1 | Ok | max_1 |  |  | 37800 | 1 | 1 | 56700 | 1
3053-6 | Triiodothyronine (T3) [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/dL | 20068 | 9062 |  |  |  | N | 0.0001 | 20 | 6 | 21 | 5 | 22 | 4 | 23 | 2 | 24 | 6 | 21 | 83 | 103 | 129 | 627.966 | 626 | 2 | 0.002 | 627 | 1 | 0.002 | 628 | 1 | 0.005 | 631 | 1 | 0.002 | 632 | 1 | 0.002 | 633 | 1 | 0.008 | 638 | 1 | 0.01 | 644 | 1 | 0.003 | 646 | 2 | 0.003 | 648 | 2 | 0.032 | max |  |  | OK | max |  |  | 648 | 2 |  | 962
3084-1 | Urate [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 140973 | 24979 |  | 25 |  | N | 0.0001 | 0 | 25 | 0.1 | 29 | 0.2 | 46 | 0.3 | 58 | 0.4 | 68 | 0.2 | 3.6 | 4.9 | 6.4 | 18.051 | 22.3 | 1 | 0.009 | 22.5 | 1 | 0.004 | 22.6 | 1 | 0.004 | 22.7 | 1 | 0.009 | 22.9 | 1 | 0.026 | 23.5 | 1 | 0.021 | 24 | 1 | 0.04 | 25 | 1 | 0.049 | 26.3 | 1 | 0.051 | 27.7 | 1 | 0.348 | max |  |  | Ok | max |  |  | 27.7 | 1 |  | 41.55
3094-0 | Urea nitrogen [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 3354647 | 250419 |  | 5 |  | N | 0.0001 | 0 | 5 | 1 | 909 | 2 | 4295 | 3 | 12477 | 3.8 | 1 | 2 | 12 | 18 | 28 | 163 | 274 | 1 | 0.004 | 275 | 2 | 0.004 | 276 | 2 | 0.007 | 278 | 1 | 0.004 | 279 | 2 | 0.014 | 283 | 2 | 0.004 | 284 | 1 | 0.021 | 290 | 1 | 0.003 | 291 | 1 | 0.046 | 305 | 1 | 0.466 | max |  |  | Ok | max |  |  | 305 | 1 |  | 457.5
3095-7 | Urea nitrogen [Mass/volume] in Urine | Urine | Chemistry | MCnc | mg/dL | 35779 | 19478 |  |  |  | Y | 0 | 0 | 4 | 1 | 1 | 6 | 2 | 7 | 1 | 9 | 2 | 12.78 | 289 | 453 | 655 | 1826.11 | 1873 | 1 | 0.002 | 1877 | 1 | 0.006 | 1888 | 2 | 0.004 | 1896 | 1 | 0.022 | 1939 | 1 | 0.007 | 1952 | 1 | 0.001 | 1954 | 1 | 0.029 | 2012 | 1 | 0.063 | 2148 | 1 | 0.065 | 2297 | 1 | 0.205 | max |  |  | OK | max |  |  | 2297 | 1 |  | 3445.5
31017-7 | Tissue transglutaminase IgA Ab [Units/volume] in Serum | Blood | Chemistry | ACnc | units | 16061 | 13354 |  |  |  | Y | 0 | 0 | 188 | 1 | 805 | 2 | 2216 | 3 | 2903 | 4 | 2531 | 0 | 3 | 4 | 7 | 114 | 108 | 1 | 0.009 | 109 | 1 | 0.009 | 110 | 2 | 0.027 | 113 | 2 | 0.009 | 114 | 3 | 0.009 | 115 | 1 | 0.009 | 116 | 1 | 0.009 | 117 | 1 | 0.008 | 118 | 2 | 0.017 | 120 | 1 | 0.05 | max |  |  | OK | max |  |  | 120 | 1 |  | 180
3255-7 | Fibrinogen [Mass/volume] in Platelet poor plasma by Coagulation assay | Blood | Hematology | MCnc | mg/dL | 115043 | 37539 |  |  |  | N | 10 | 24 | 1 | 26 | 3 | 28 | 2 | 29 | 1 | 31 | 1 | 37 | 179 | 274 | 418 | 1186.956 | 1344 | 1 | 0.003 | 1348 | 1 | 0.01 | 1362 | 2 | 0.004 | 1367 | 1 | 0.058 | 1449 | 1 | 0.012 | 1466 | 1 | 0.041 | 1528 | 1 | 0.107 | 1709 | 1 | 0.037 | 1773 | 1 | 0.021 | 1810 | 1 | 0.349 | max |  |  | Ok | max |  |  | 1810 | 1 |  | 2703
32693-4 | Lactate [Moles/volume] in Blood | Blood | Blood Gas | SCnc | mmol/L | 532643 | 115733 | 1 | 3 |  | N | 0.0001 | 0 | 3 | 0.05 | 1 | 0.07 | 1 | 0.1 | 6 | 0.2 | 17 | 0.4 | 1.2 | 1.7 | 2.5 | 21 | 29.2 | 1 | 0.01 | 29.5 | 1 | 0.003 | 29.6 | 1 | 0.075 | 32 | 1 | 0.135 | 37 | 1 | 0.288 | 52 | 1 | 0.416 | 89 | 1 | 0.119 | 101 | 1 | 0.235 | 132 | 1 | 1 | 1276103 | 1 | 0.841 | max_1? | max_4 | 4 | Ok | max_4 |  |  | 52 | 1 | 4 | 78 | 1
33762-6 | Natriuretic peptide.B prohormone N-Terminal [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | pg/mL | 67913 | 29542 |  |  |  | N | 0.0001 | 5 | 26 | 6 | 50 | 7 | 57 | 8 | 45 | 8.49 | 1 | 6 | 351 | 1449 | 4647.5 | 68259.161 | 69707 | 1 | 0 | 69738 | 1 | 0 | 69767 | 1 | 0.001 | 69816 | 1 | 0 | 69824 | 1 | 0 | 69836 | 1 | 0.002 | 69995 | 1 | 0.183 | 85696 | 1 | 0.281 | 119254 | 1 | 0.076 | 129001 | 1 | 0.471 | max |  |  | Ok | max |  |  | 129001 | 1 |  | 193499
33944-0 | Lambda light chains.free [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/L | 14706 | 2840 |  |  |  | N | 0.0001 | 0.7 | 29 | 0.71 | 1 | 0.8 | 95 | 0.81 | 1 | 0.82 | 1 | 0.7 | 9 | 15.6 | 31.6 | 15560.925 | 13159 | 1 | 0.127 | 15078 | 1 | 0.013 | 15270 | 1 | 0.029 | 15720 | 1 | 0.052 | 16580 | 1 | 0.176 | 20110 | 1 | 0.019 | 20503 | 1 | 0.123 | 23391 | 1 | 0.018 | 23821 | 1 | 0.335 | 35840 | 1 | 0.347 | max_1 |  | 1 | Ok | max_1 |  |  | 23821 | 1 | 1 | 35731.15 | 1
34728-6 | Carbon dioxide, total [Moles/volume] in Blood by calculation | Blood | Blood Gas | SCnc | mEq/L | 537680 | 57225 |  | 56 |  | N | 0.0001 | 0 | 56 | 1 | 5 | 2 | 23 | 3 | 58 | 4 | 125 | 5 | 22 | 25 | 29 | 58 | 85 | 1 | 0.045 | 89 | 1 | 0.101 | 99 | 1 | 0.01 | 100 | 1 | 0.02 | 102 | 1 | 0.019 | 104 | 1 | 0.019 | 106 | 1 | 0.07 | 114 | 1 | 0.278 | 158 | 1 | 0.415 | 270 | 1 | 0.633 | max_1 |  | 1 | Changed | max_2 | Exclude more values | clinical chemistry specialist: stop at 58 | 114 | 1 | 2 | 171 | 1
3520-4 | cycloSPORINE [Mass/volume] in Blood | Blood | Chemistry | MCnc | ng/mL | 20172 | 633 |  |  |  | Y | 0 | 7 | 1 | 11 | 1 | 16 | 2 | 21 | 1 | 22 | 1 | 25 | 99 | 166 | 242 | 1377.654 | 1378 | 1 | 0.006 | 1386 | 1 | 0.027 | 1424 | 1 | 0.01 | 1438 | 1 | 0.02 | 1467 | 1 | 0.01 | 1482 | 1 | 0.003 | 1486 | 1 | 0.004 | 1492 | 1 | 0.001 | 1493 | 1 | 0.156 | 1768 | 1 | 0.222 | max |  |  | OK | max |  |  | 1768 | 1 |  | 2648.5
36916-5 | Kappa light chains.free [Mass/volume] in Serum | Blood | Chemistry | MCnc | mg/L | 14766 | 2844 |  |  |  | N | 0.0001 | 0.5 | 1 | 0.6 | 5 | 0.7 | 5 | 0.8 | 216 | 0.9 | 49 | 0.7 | 12.7 | 26.3 | 79.8 | 49231.221 | 41083 | 1 | 0.068 | 44090 | 1 | 0.025 | 45240 | 1 | 0.125 | 51714 | 1 | 0.061 | 55090 | 1 | 0.027 | 56610 | 1 | 0.038 | 58860 | 1 | 0.029 | 60620 | 1 | 0.018 | 61700 | 1 | 0.762 | 258800 | 1 | 0.202 | max_1 |  | 1 | Changed | max | Reinclude excluded outliers |  | 258800 | 1 |  | 388199.75
3968-5 | Phenytoin [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ug/mL | 22804 | 3705 |  |  |  | Y | 0 | 0.6 | 16 | 0.7 | 45 | 0.8 | 58 | 0.9 | 40 | 1 | 54 | 0.6 | 7.3 | 10.8 | 14.9 | 59.517 | 60 | 1 | 0.033 | 62 | 1 | 0.003 | 62.2 | 2 | 0.031 | 64.2 | 1 | 0.084 | 70 | 1 | 0.028 | 72 | 1 | 0.044 | 75.3 | 1 | 0.2 | 94 | 1 | 0.666 | 280.2 | 1 | 0.063 | 299 | 1 | 0.803 | max? | max_2 | 2 | OK | max_2 |  | clin chemistry specialits: intoxication may lead to high levels…bu Tietz: >100=death | 94 | 1 | 2 | 140.7 | 2
4086-5 | Valproate [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ug/mL | 11473 | 2767 |  |  |  | Y | 0 | 3 | 24 | 4 | 44 | 5 | 36 | 6 | 34 | 7 | 46 | 3 | 42 | 62 | 83 | 263.153 | 231 | 1 | 0.013 | 234 | 2 | 0.025 | 240 | 1 | 0.008 | 242 | 1 | 0.052 | 255 | 1 | 0.11 | 286 | 1 | 0.158 | 339 | 1 | 0.337 | 510 | 1 | 0.525 | 1070 | 1 | 0.098 | 1186 | 1 | 0.78 | max? | max_3 | 3 | Changed | max | Reinclude excluded outliers |  | 1186 | 1 |  | 1777.5
4485-9 | Complement C3 [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 11857 | 5907 |  |  |  | N | 0.0001 | 4 | 2 | 5 | 3 | 6 | 1 | 9 | 2 | 12 | 1 | 5.929 | 91 | 116 | 139 | 267.071 | 253 | 1 | 0.024 | 259 | 1 | 0.015 | 263 | 1 | 0.004 | 264 | 1 | 0.011 | 267 | 1 | 0.004 | 268 | 1 | 0.019 | 273 | 1 | 0.025 | 280 | 1 | 0.011 | 283 | 1 | 0.076 | 306 | 1 | 0.129 | max |  |  | OK | max |  |  | 306 | 1 |  | 457
4498-2 | Complement C4 [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 12247 | 6333 |  | 1 |  | N | 0.0001 | 0 | 1 | 1 | 1 | 2 | 67 | 2.2 | 1 | 3 | 117 | 2 | 17 | 25 | 33 | 79.628 | 73 | 3 | 0.014 | 74 | 1 | 0.013 | 75 | 1 | 0.013 | 76 | 3 | 0.013 | 77 | 2 | 0.038 | 80 | 1 | 0.012 | 81 | 1 | 0.036 | 84 | 1 | 0.023 | 86 | 2 | 0.023 | 88 | 1 | 0.095 | max |  |  | OK | max |  |  | 88 | 1 |  | 132
4537-7 | Erythrocyte sedimentation rate by Westergren method | Blood | Hematology | Vel | mm/hr | 63324 | 27204 |  |  |  | Y | 0 | 0 | 1647 | 0.15 | 1 | 0.5 | 1 | 1 | 1492 | 2 | 1856 | 0 | 9 | 23 | 48 | 150 | 140 | 187 | 0.007 | 141 | 27 | 0.007 | 142 | 24 | 0.007 | 143 | 15 | 0.007 | 144 | 7 | 0.007 | 145 | 17 | 0.007 | 146 | 9 | 0.007 | 147 | 5 | 0.007 | 148 | 4 | 0.013 | 150 | 64 | 0 | max |  |  | OK | max |  |  | 150 | 64 |  | 225
4542-7 | Haptoglobin [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | mg/dL | 37586 | 20045 |  |  |  | N | 0.0001 | 5 | 74 | 6 | 53 | 7 | 55 | 8 | 47 | 9 | 50 | 5 | 89 | 157 | 245 | 758.413 | 806 | 1 | 0.002 | 808 | 1 | 0.005 | 812 | 1 | 0.005 | 816 | 1 | 0.009 | 823 | 1 | 0.007 | 829 | 1 | 0.024 | 849 | 1 | 0.005 | 853 | 1 | 0.1 | 947 | 1 | 0.005 | 952 | 1 | 0.204 | max |  |  | OK | max |  |  | 952 | 1 |  | 1425.5
4548-4 | Hemoglobin A1c/Hemoglobin.total in Blood | Blood | Chemistry | MFr | % | 235261 | 78724 |  |  |  | N | 0.0001 | 3.2 | 2 | 3.3 | 3 | 3.4 | 4 | 3.5 | 7 | 3.6 | 9 | 4 | 5.6 | 6.1 | 7.1 | 16.5 | 18.7 | 2 | 0.006 | 18.8 | 1 | 0.006 | 18.9 | 1 | 0.019 | 19.2 | 1 | 0.006 | 19.3 | 2 | 0.006 | 19.4 | 3 | 0.012 | 19.6 | 1 | 0.006 | 19.7 | 1 | 0.122 | 22 | 1 | 0.051 | 23 | 1 | 0.328 | max |  |  | OK | max |  |  | 23 | 1 |  | 32.9
48065-7 | Fibrin D-dimer FEU [Mass/volume] in Platelet poor plasma | Blood | Chemistry | MCnc | ng/mL | 20145 | 15951 |  |  |  | Y | 0 | 81 | 1 | 101 | 5 | 102 | 1 | 103 | 3 | 104 | 1 | 103.073 | 287 | 512 | 1168.5 | 20716.321 | 20718 | 1 | 0.002 | 20764 | 1 | 0.005 | 20875 | 1 | 0.003 | 20948 | 1 | 0.001 | 20970 | 1 | 0.001 | 20985 | 1 | 0 | 20994 | 1 | 0.428 | 36650 | 1 | 0.031 | 37810 | 1 | 0.248 | 50270 | 1 | 0.589 | max? | max_3 | 3 | Changed | max | Reinclude excluded outliers |  | 50270 | 1 |  | 75364.5
48378-4 | Kappa light chains.free/Lambda light chains.free [Mass Ratio] in Serum | Blood | Chemistry | MRto |  | 14511 | 2835 |  |  |  | Y | 0 | 0 | 283 | 0.0002 | 1 | 0.0005 | 1 | 0.001 | 1 | 0.0012 | 1 | 0 | 0.79 | 1.4 | 4.27 | 12397.52 | 11482.86 | 1 | 0.026 | 11794 | 1 | 0.037 | 12245 | 1 | 0.016 | 12450 | 1 | 0.048 | 13076.67 | 1 | 0.015 | 13277 | 1 | 0.085 | 14514 | 1 | 0.009 | 14639 | 1 | 0.238 | 19221.32 | 1 | 0.306 | 27682 | 1 | 0.552 | max |  |  | Ok | max |  |  | 27682 | 1 |  | 41523
49136-5 | Creatine kinase.MB/Creatine kinase.total [Ratio] in Serum or Plasma | Blood | Chemistry | Ratio | % | 26366 | 10182 |  |  |  | Y | 0 | 0 | 31 | 0.1 | 127 | 0.2 | 243 | 0.3 | 308 | 0.4 | 345 | 0 | 2 | 4.9 | 8.8 | 50 | 50.4 | 1 | 0.054 | 53.3 | 1 | 0.013 | 54 | 1 | 0.054 | 57.1 | 1 | 0.062 | 60.9 | 1 | 0.002 | 61 | 1 | 0.032 | 63 | 1 | 0.02 | 64.3 | 1 | 0.091 | 70.7 | 1 | 0.006 | 71.1 | 1 | 0.297 | max |  |  | OK | max |  |  | 71.1 | 1 |  | 106.65
51926-4 | Nucleated cells [#/volume] in Peritoneal fluid by Manual count | Ascites | Hematology | NCnc | #/uL | 12143 | 3665 |  |  |  | Y | 0 | 0 | 46 | 1 | 53 | 2 | 34 | 3 | 41 | 4 | 29 | 0 | 90 | 200 | 496 | 473768 | 336000 | 1 | 0.185 | 412500 | 1 | 0.031 | 425899 | 1 | 0.043 | 445000 | 1 | 0.065 | 476000 | 1 | 0.008 | 480000 | 1 | 0.146 | 562000 | 1 | 0.123 | 641000 | 1 | 0.131 | 737500 | 1 | 0.515 | 1520000 | 1 | 0.358 | max_1 |  | 1 | Ok | max_1 |  |  | 737500 | 1 | 1 | 1106250 | 1
54218-3 | CD3+CD4+ (T4 helper) cells/CD3+CD8+ (T8 suppressor cells) cells [# Ratio] in Blood | Blood | Hematology | NRto | Ratio | 27554 | 4753 |  |  |  | Y | 0 | 0 | 162 | 0.01 | 58 | 0.02 | 55 | 0.03 | 67 | 0.04 | 59 | 0 | 0.38 | 0.66 | 1.1 | 21.778 | 25.9 | 1 | 0.025 | 26.56 | 1 | 0.131 | 30.55 | 1 | 0.062 | 32.56 | 1 | 0.01 | 32.9 | 1 | 0.044 | 34.4 | 1 | 0.111 | 38.7 | 1 | 0.598 | 96.3 | 1 | 0.223 | 124 | 1 | 0.035 | 128.45 | 1 | 0.83 | max? | max_3 | 3 | Changed | max | Reinclude excluded outliers | tietz: adutl T cell leukemia: CD4+/CD8-, so perhaps leave the max | 128.45 | 1 |  | 192.675
5640-8 | Ethanol [Mass/volume] in Blood | Blood | Chemistry | MCnc | mg/dL | 17846 | 10379 |  |  |  | Y | 0 | 10 | 86 | 11 | 66 | 12 | 54 | 13 | 52 | 14 | 60 | 10 | 112 | 206 | 295 | 624.229 | 620 | 1 | 0.007 | 624 | 1 | 0.005 | 627 | 1 | 0.011 | 634 | 1 | 0.006 | 638 | 1 | 0.002 | 639 | 1 | 0.002 | 640 | 1 | 0.002 | 641 | 1 | 0.077 | 694 | 1 | 0.062 | 739 | 1 | 0.157 | max |  |  | OK | max |  |  | 739 | 1 |  | 1103.5
5787-7 | Epithelial cells [#/area] in Urine sediment by Microscopy high power field | Urine | Hematology | Naric | #/hpf | 361051 | 128059 |  |  |  | Y | 0 | 0 | 171212 | 0.2 | 1 | 1 | 71091 | 2 | 32534 | 3 | 19740 | 0 | 0 | 1 | 2 | 99.474 | 215 | 1 | 0.009 | 217 | 1 | 0.289 | 305 | 2 | 0.047 | 320 | 1 | 0.083 | 349 | 1 | 0.082 | 380 | 1 | 0.104 | 424 | 1 | 0.021 | 433 | 1 | 0.282 | 603 | 1 | 0.011 | 610 | 1 | 0.837 | max |  |  | Ok | max |  |  | 610 | 1 |  | 915
5793-5 | Granular casts [#/area] in Urine sediment by Microscopy low power field | Urine | Hematology | Naric | #/lpf | 12483 | 9497 |  |  |  | Y | 0 | 0 | 2 | 1 | 3293 | 2 | 1374 | 3 | 1937 | 4 | 1195 | 1 | 1 | 3 | 7 | 384.58 | 299 | 1 | 0.148 | 351 | 1 | 0.044 | 367 | 1 | 0.027 | 377 | 1 | 0.026 | 387 | 1 | 0.096 | 428 | 1 | 0.04 | 446 | 1 | 0.049 | 469 | 1 | 0.322 | 692 | 1 | 0.093 | 763 | 1 | 0.496 | max |  |  | Ok | max |  |  | 763 | 1 |  | 1144.5
5796-8 | Hyaline casts [#/area] in Urine sediment by Microscopy low power field | Urine | Hematology | Naric | #/lpf | 103259 | 49445 |  |  |  | Y | 0 | 0 | 16 | 0.2 | 1 | 1 | 26566 | 2 | 9808 | 3 | 14041 | 1 | 1 | 4 | 9 | 346.7 | 606 | 1 | 0.056 | 642 | 1 | 0.021 | 656 | 1 | 0.151 | 773 | 1 | 0.106 | 865 | 1 | 0.025 | 887 | 1 | 0.317 | 1298 | 1 | 0.223 | 1671 | 1 | 0.101 | 1858 | 1 | 0.126 | 2127 | 1 | 0.837 | max |  |  | Ok | max |  |  | 2127 | 1 |  | 3190.5
5811-5 | Specific gravity of Urine by Test strip | Urine | Hematology | Rden |  | 706488 | 194925 |  |  |  | N | 0.0001 | 0.01 | 1 | 0.05 | 1 | 1 | 320 | 1.0003 | 1 | 1.0007 | 1 | 1.001 | 1.01 | 1.015 | 1.021 | 1.05 | 1.069 | 2 | 0.001 | 1.07 | 6 | 0.001 | 1.071 | 1 | 0.004 | 1.075 | 3 | 0.001 | 1.076 | 1 | 0.002 | 1.078 | 2 | 0.002 | 1.08 | 5 | 0.009 | 1.09 | 1 | 0.999 | 1015 | 1 | 0.01 | 1025 | 1 | 0.999 | max? | max_2 | 2 | OK | max_2 |  | NOK, 1,09 is a better choice, other ones are probably typo's | 1.09 | 1 | 2 | 1.63 | 2
5821-4 | Leukocytes [#/area] in Urine sediment by Microscopy high power field | Urine | Hematology | Naric | #/hpf | 369617 | 128932 |  |  |  | Y | 0 | 0 | 37374 | 0.2 | 10 | 1 | 91804 | 2 | 47862 | 3 | 30067 | 0 | 1 | 3 | 10 | 809.191 | 983 | 2 | 0.004 | 987 | 1 | 0.002 | 989 | 2 | 0.001 | 990 | 1 | 0.001 | 991 | 3 | 0.003 | 994 | 3 | 0.001 | 995 | 1 | 0.002 | 997 | 1 | 0.001 | 998 | 1 | 0.002 | 1000 | 1 | 0.191 | max |  |  | OK | max |  |  | 1000 | 1 |  | 1500
58413-6 | Nucleated erythrocytes/100 leukocytes [Ratio] in Blood by Automated count | Blood | Hematology | Ratio | % | 70198 | 14421 |  |  |  | Y | 0 | 0 | 423 | 0.1 | 2512 | 0.2 | 4637 | 0.3 | 3739 | 0.4 | 2793 | 0 | 0.6 | 1 | 3 | 367.901 | 498 | 1 | 0.025 | 511 | 1 | 0.074 | 552 | 1 | 0.014 | 560 | 1 | 0.121 | 637 | 1 | 0.171 | 768 | 1 | 0.088 | 842 | 1 | 0.005 | 846 | 1 | 0.136 | 979 | 1 | 0.06 | 1041 | 1 | 0.647 | max |  |  | Ok | max |  |  | 1041 | 1 |  | 1561.5
58470-6 | Nucleated cells [#/volume] in Cerebral spinal fluid | Cerebrospinal Fluid | Hematology | NCnc | #/uL | 18075 | 9388 |  |  |  | Y | 0 | 0 | 3042 | 1 | 4863 | 2 | 2137 | 3 | 1126 | 4 | 737 | 0 | 1 | 2 | 10 | 25089.464 | 23000 | 1 | 0.086 | 25172 | 1 | 0.009 | 25389 | 1 | 0.004 | 25500 | 1 | 0.105 | 28500 | 1 | 0.05 | 30000 | 1 | 0.119 | 34056 | 1 | 0.418 | 58500 | 1 | 0.728 | 215373 | 1 | 0.618 | 563719 | 1 | 0.263 | max_3 |  | 1 | Changed | max | Reinclude excluded outliers | https://onlinelibrary.wiley.com/doi/epdf/10.1111/ijlh.13815 | 563719 | 1 |  | 845578.5
5902-2 | Prothrombin time (PT) | Blood | Hematology | Time | sec | 1461948 | 165314 |  |  |  | N | 1 | 2.6 | 1 | 4.5 | 1 | 5.1 | 1 | 5.6 | 2 | 5.8 | 1 | 9 | 12.2 | 14.1 | 19.7 | 130.5 | 149.2 | 1 | 0.001 | 149.3 | 1 | 0.001 | 149.5 | 2 | 0.001 | 149.7 | 1 | 0.001 | 149.8 | 1 | 0.001 | 150 | 514 | 0.001 | 150.1 | 1 | 0.03 | 154.6 | 1 | 0.769 | 662 | 1 | 0.654 | 1907 | 1 | 0.159 | max_2 |  | 2 | OK | max_2 |  |  | 154.6 | 1 | 2 | 230.6 | 2
60474-4 | Reticulocytes [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | % | 49588 | 25295 |  |  |  | Y | 0 | 0 | 4 | 0.02 | 1 | 0.1 | 198 | 0.2 | 329 | 0.25 | 1 | 0.1 | 1.4 | 2 | 2.9 | 21.041 | 24.3 | 1 | 0.004 | 24.4 | 1 | 0.004 | 24.5 | 1 | 0.05 | 25.8 | 2 | 0.008 | 26 | 1 | 0.167 | 31.2 | 1 | 0.022 | 31.9 | 1 | 0.012 | 32.3 | 1 | 0.018 | 32.9 | 1 | 0.154 | 38.9 | 1 | 0.459 | max |  |  | Ok | max |  |  | 38.9 | 1 |  | 58.35
6301-6 | INR in Platelet poor plasma by Coagulation assay | Blood | Hematology | RelTime |  | 1462433 | 165316 |  |  |  | N | 0.0001 | 0.4 | 5 | 0.5 | 9 | 0.6 | 30 | 0.7 | 45 | 0.74 | 1 | 0.8 | 1.1 | 1.3 | 1.8 | 12.4 | 23.6 | 1 | 0.004 | 23.7 | 1 | 0.013 | 24 | 1 | 0.021 | 24.5 | 1 | 0.004 | 24.6 | 1 | 0.012 | 24.9 | 1 | 0.035 | 25.8 | 1 | 0.034 | 26.7 | 1 | 0.026 | 27.4 | 2 | 0.004 | 27.5 | 2 | 0.557 | max |  |  | Ok | max |  |  | 27.5 | 2 |  | 41.05
6598-7 | Troponin T.cardiac [Mass/volume] in Serum or Plasma | Blood | Chemistry | MCnc | ng/mL | 156998 | 31508 |  |  |  | Y | 0 | 0 | 24 | 0.01 | 10412 | 0.012 | 1 | 0.014 | 1 | 0.019 | 1 | 0.01 | 0.03 | 0.09 | 0.3 | 21.325 | 24.62 | 1 | 0.007 | 24.8 | 1 | 0 | 24.81 | 1 | 0.007 | 24.98 | 1 | 0.001 | 25 | 1 | 0.37 | 39.7 | 1 | 0.039 | 41.3 | 1 | 0.031 | 42.6 | 1 | 0.178 | 51.84 | 1 | 0.011 | 52.4 | 1 | 0.593 | max? | max_5 | 5 | Changed | max | Reinclude excluded outliers |  | 52.4 | 1 |  | 78.6
6690-2 | Leukocytes [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | K/uL | 3357843 | 255301 |  |  |  | Y | 0 | 0 | 33 | 0.1 | 5698 | 0.11 | 3 | 0.12 | 11 | 0.13 | 8 | 0.1 | 5.5 | 7.6 | 10.4 | 152.108 | 767.9 | 1 | 0.007 | 773.1 | 1 | 0.003 | 775.5 | 1 | 0.027 | 797.4 | 1 | 0.007 | 803.4 | 1 | 0.005 | 807.5 | 1 | 0.004 | 810.9 | 1 | 0.077 | 878.3 | 1 | 0.006 | 884 | 1 | 0.929 | 12500 | 1 | 0.828 | max_1 |  | 1 | Ok | max_1 |  |  | 884 | 1 | 1 | 1326 | 1
6768-6 | Alkaline phosphatase [Enzymatic activity/volume] in Serum or Plasma | Blood | Chemistry | CCnc | IU/L | 1232106 | 156709 |  | 5 |  | N | 0.0001 | 0 | 5 | 1 | 6 | 2 | 4 | 3 | 1 | 4 | 3 | 21 | 67 | 89 | 132 | 1979.947 | 4212 | 1 | 0.056 | 4460 | 1 | 0.002 | 4471 | 1 | 0.031 | 4616 | 1 | 0.002 | 4623 | 1 | 0.023 | 4734 | 1 | 0.054 | 5006 | 1 | 0.015 | 5080 | 1 | 0.025 | 5210 | 1 | 0.127 | 5965 | 1 | 0.668 | max |  |  | Ok | max |  |  | 5965 | 1 |  | 8947.5
704-7 | Basophils [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | K/uL | 540164 | 114996 |  |  |  | Y | 0 | 0 | 86104 | 0.01 | 53526 | 0.02 | 80425 | 0.03 | 87996 | 0.04 | 73756 | 0 | 0.01 | 0.03 | 0.05 | 2.409 | 22.66 | 1 | 0.03 | 23.37 | 1 | 0.022 | 23.9 | 1 | 0.005 | 24.01 | 1 | 0.001 | 24.04 | 1 | 0.021 | 24.56 | 1 | 0.018 | 25 | 1 | 0.092 | 27.54 | 1 | 0.096 | 30.48 | 1 | 0.045 | 31.9 | 1 | 0.924 | max |  |  | Ok | max |  | http://srh.org.ro/wp-content/uploads/ShortpixelBackups/2016/10/Extreme-Thrombocytosis-and-Basophilia-in-a-Case-of-Chronic-Myeloid-Leukemia.pdf | 31.9 | 1 |  | 47.85
711-2 | Eosinophils [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | K/uL | 540210 | 115000 |  |  |  | Y | 0 | 0 | 89160 | 0.01 | 27652 | 0.02 | 22521 | 0.03 | 21621 | 0.04 | 20976 | 0 | 0.02 | 0.09 | 0.19 | 6.039 | 24.78 | 1 | 0.054 | 26.2 | 1 | 0.011 | 26.48 | 1 | 0.074 | 28.59 | 1 | 0.091 | 31.46 | 1 | 0.024 | 32.25 | 1 | 0.139 | 37.46 | 1 | 0.133 | 43.22 | 1 | 0.139 | 50.18 | 1 | 0.11 | 56.36 | 1 | 0.893 | max |  |  | Ok | max |  |  | 56.36 | 1 |  | 84.54
718-7 | Hemoglobin [Mass/volume] in Blood | Blood | Blood Gas | MCnc | g/dL | 3467638 | 255442 |  | 72 |  | N | 0.0001 | 0 | 72 | 1.03 | 1 | 1.3 | 1 | 1.5 | 1 | 1.6 | 1 | 4.8 | 9.2 | 11 | 12.8 | 18.1 | 23.9 | 1 | 0.04 | 24.9 | 1 | 0.178 | 30.3 | 1 | 0.252 | 40.5 | 1 | 0.19 | 50 | 1 | 0.242 | 66 | 1 | 0.154 | 78 | 1 | 0.188 | 96 | 2 | 0.01 | 97 | 2 | 0.01 | 98 | 1 | 0.815 | max |  |  | Changed | max_8 | Exclude more values | NOK, 18,1 is a better max | 24.9 | 1 | 10 | 37.35 | 9
731-0 | Lymphocytes [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | K/uL | 567717 | 116887 |  |  |  | Y | 0 | 0 | 1509 | 0.0009 | 1 | 0.008 | 1 | 0.01 | 298 | 0.0169 | 1 | 0 | 0.8 | 1.36 | 2.02 | 170.265 | 467.54 | 1 | 0.032 | 482.77 | 1 | 0.031 | 498.29 | 1 | 0.009 | 502.6 | 1 | 0.045 | 526.06 | 1 | 0.007 | 529.91 | 1 | 0.003 | 531.55 | 1 | 0.066 | 569.25 | 1 | 0.052 | 600.5 | 1 | 0.018 | 611.23 | 1 | 0.721 | max |  |  | Ok | max |  |  | 611.23 | 1 |  | 916.845
742-7 | Monocytes [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | K/uL | 540164 | 114996 |  |  |  | Y | 0 | 0 | 10507 | 0.01 | 3192 | 0.02 | 3067 | 0.03 | 2434 | 0.04 | 2449 | 0 | 0.39 | 0.57 | 0.79 | 15.778 | 69.38 | 1 | 0.05 | 73.03 | 1 | 0.014 | 74.04 | 1 | 0.038 | 77 | 1 | 0.006 | 77.43 | 1 | 0.047 | 81.27 | 1 | 0.011 | 82.21 | 1 | 0.087 | 90 | 1 | 0.07 | 96.8 | 1 | 0.166 | 116.03 | 1 | 0.864 | max |  |  | Ok | max |  |  | 116.03 | 1 |  | 174.045
751-8 | Neutrophils [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | K/uL | 564797 | 115074 |  |  |  | Y | 0 | 0 | 3296 | 0.01 | 1451 | 0.02 | 1090 | 0.03 | 698 | 0.04 | 755 | 0 | 2.85 | 4.51 | 6.99 | 70.644 | 216.01 | 1 | 0.017 | 219.72 | 1 | 0.049 | 230.97 | 1 | 0.009 | 232.99 | 1 | 0.003 | 233.75 | 1 | 0.093 | 257.71 | 1 | 0.003 | 258.51 | 1 | 0.041 | 269.64 | 1 | 0.659 | 790 | 1 | 0.102 | 880 | 1 | 0.92 | max? | max_2 | 2 | OK | max_2 |  | google: leukemias between 100,000 and 400,000 WBS/µL; so perhaps lets stop by 269,64. with >100,000 /µL one performs leucaferesis to stop blocking the blood flow | 269.64 | 1 | 2 | 404.46 | 2
777-3 | Platelets [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | K/uL | 3374489 | 255369 |  |  |  | N | 0.0001 | 5 | 1212 | 5.5 | 1 | 6 | 1334 | 7 | 1788 | 8 | 2039 | 6 | 155 | 219 | 290 | 1127 | 2573 | 1 | 0.003 | 2582 | 1 | 0.003 | 2589 | 1 | 0.005 | 2603 | 1 | 0.003 | 2611 | 1 | 0.018 | 2660 | 1 | 0.003 | 2669 | 1 | 0.093 | 2941 | 1 | 0.002 | 2947 | 1 | 0.014 | 2989 | 1 | 0.624 | max |  |  | Ok | max |  |  | 2989 | 1 |  | 4481
785-6 | MCH [Entitic mass] by Automated count | Blood | Hematology | EntMass | pg | 3326336 | 255282 |  | 25 |  | N | 0.0001 | 0 | 25 | 11.5 | 1 | 11.9 | 1 | 12.1 | 1 | 12.3 | 1 | 17.4 | 28.4 | 30 | 31.5 | 41.4 | 50 | 1 | 0.094 | 55.2 | 1 | 0.026 | 56.7 | 1 | 0.004 | 56.9 | 1 | 0.024 | 58.3 | 1 | 0.25 | 77.7 | 1 | 0.097 | 86 | 1 | 0.686 | 273.8 | 1 | 0.262 | 371 | 1 | 0.01 | 374.6 | 1 | 0.889 | max? | max_3 | 3 | OK | max_3 |  | ?=MCH = HGB (g/dl) * 10 / RBC (/L)--> I think indeed that 86 is the max here | 86 | 1 | 3 | 129 | 3
786-4 | MCHC [Mass/volume] by Automated count | Blood | Hematology | MCnc | g/dL | 3326756 | 255285 |  | 10 |  | N | 0.0001 | 0 | 10 | 21.3 | 1 | 21.5 | 1 | 21.6 | 1 | 21.7 | 1 | 26.2 | 31.8 | 32.9 | 33.9 | 38.1 | 43.8 | 2 | 0.009 | 44.2 | 3 | 0.013 | 44.8 | 1 | 0.022 | 45.8 | 1 | 0.038 | 47.6 | 1 | 0.027 | 48.9 | 1 | 0.305 | 70.4 | 1 | 0.148 | 82.6 | 1 | 0.732 | 308 | 1 | 0.058 | 327 | 1 | 0.883 | max? | max_2 | 2 | OK | max_2 |  | ?= MCHC = HGB (g/dl) * 100 / HCT.--> I agree in the max of 82,6 | 82.6 | 1 | 2 | 123.9 | 2
787-2 | MCV [Entitic volume] by Automated count | Blood | Hematology | EntVol | fL | 3326501 | 255286 |  | 25 |  | N | 0.0001 | 0 | 25 | 8 | 1 | 38 | 1 | 42 | 2 | 46 | 1 | 61 | 87 | 91 | 95 | 124 | 143 | 2 | 0.007 | 144 | 5 | 0.007 | 145 | 1 | 0.007 | 146 | 2 | 0.007 | 147 | 1 | 0.007 | 148 | 3 | 0.007 | 149 | 3 | 0.007 | 150 | 1 | 0.026 | 154 | 1 | 0.013 | 156 | 1 | 0.205 | max |  |  | OK | max |  |  | 156 | 1 |  | 234
788-0 | Erythrocyte distribution width [Ratio] by Automated count | Blood | Hematology | Ratio | % | 3324331 | 255273 |  | 23 |  | N | 0.0001 | 0 | 23 | 10.3 | 1 | 10.4 | 4 | 10.5 | 6 | 10.6 | 27 | 11.3 | 13.4 | 14.6 | 16.3 | 29.4 | 40.2 | 1 | 0.005 | 40.4 | 1 | 0.007 | 40.7 | 1 | 0.005 | 40.9 | 1 | 0.014 | 41.5 | 1 | 0.005 | 41.7 | 1 | 0.059 | 44.3 | 1 | 0.039 | 46.1 | 1 | 0.049 | 48.5 | 1 | 0.699 | 161 | 1 | 0.394 | max_1 |  | 1 | Ok | max_1 |  |  | 48.5 | 1 | 1 | 72.75 | 1
789-8 | Erythrocytes [#/volume] in Blood by Automated count | Blood | Hematology | NCnc | m/uL | 3326547 | 255286 |  | 27 |  | N | 0.0001 | 0 | 27 | 0.45 | 1 | 0.48 | 1 | 0.56 | 1 | 0.59 | 2 | 1.61 | 3.1 | 3.72 | 4.31 | 6.52 | 8.64 | 1 | 0.006 | 8.69 | 1 | 0.003 | 8.72 | 1 | 0.007 | 8.78 | 1 | 0.024 | 9 | 1 | 0.01 | 9.09 | 2 | 0.032 | 9.39 | 1 | 0.006 | 9.45 | 1 | 0.713 | 32.97 | 1 | 0.87 | 254 | 1 | 0.31 | max_2 |  | 2 | OK | max_2 |  |  | 9.45 | 1 | 2 | 14.175 | 2
8122-4 | CD3 cells [#/volume] in Blood | Blood | Hematology | NCnc | #/uL | 27554 | 4753 |  |  |  | Y | 0 | 0 | 6 | 0.3 | 1 | 0.8 | 1 | 0.9 | 1 | 1 | 19 | 1 | 822 | 1257 | 1729 | 9714.012 | 10681 | 1 | 0.287 | 14984 | 1 | 0.053 | 15829 | 1 | 0.095 | 17488 | 1 | 0.034 | 18103 | 1 | 0.262 | 24539 | 1 | 0.189 | 30267 | 1 | 0.567 | 69906 | 1 | 0.01 | 70644 | 1 | 0.546 | 155620 | 1 | 0.862 | max_1? | max_3 | 3 | Changed | max_1 | Reinclude excluded outliers |  | 70644 | 1 | 1 | 105966 | 1
9830-1 | Cholesterol.total/Cholesterol in HDL [Mass Ratio] in Serum or Plasma | Blood | Chemistry | MRto | Ratio | 256750 | 86613 |  |  | 2 | N | 1 | 0.8 | 1 | 0.9 | 1 | 1.1 | 4 | 1.2 | 15 | 1.3 | 59 | 1.4 | 2.7 | 3.4 | 4.3 | 22.062 | 60.3 | 1 | 0.015 | 61.2 | 1 | 0.023 | 62.6 | 1 | 0.008 | 63.1 | 1 | 0.013 | 63.9 | 1 | 0.002 | 64 | 1 | 0.022 | 65.4 | 1 | 0.084 | 71.3 | 1 | 0.531 | 151 | 1 | 0.107 | 169 | 1 | 0.874 | max? | max_2 | 2 | Changed | max | Reinclude excluded outliers | clin chemistry specialist: ok, leave the max, exists when people do not have HDL | 169 | 1 |  | 253.1